## ETL
Project Name:
Room Estimator | [54 empty] | Project Location:
ETL Prismatic Troffer | [54 empty] | Project #:
[7 empty] | 24 | [15 empty] | 22 | [15 empty] | 14
[7 empty] | RC | 80 | 80 | 80 | 70 | 70 | 70 | 50 | 50 | 50 | 30 | 30 | 30 | 10 | 10 | 10 | RC | 80 | 80 | 80 | 70 | 70 | 70 | 50 | 50 | 50 | 30 | 30 | 30 | 10 | 10 | 10 | RC | 80 | 80 | 80 | 70 | 70 | 70 | 50 | 50 | 50 | 30 | 30 | 30 | 10 | 10 | 10
Area: | Room Length (x) |  | ft |  |  |  | RW | 50 | 30 | 10 | 50 | 30 | 10 | 50 | 30 | 10 | 50 | 30 | 10 | 50 | 30 | 10 | RW | 50 | 30 | 10 | 50 | 30 | 10 | 50 | 30 | 10 | 50 | 30 | 10 | 50 | 30 | 10 | RW | 50 | 30 | 10 | 50 | 30 | 10 | 50 | 30 | 10 | 50 | 30 | 10 | 50 | 30 | 10
| Room Width (y) |  | ft |  |  |  | RCR | CU | CU1 | CU2 | CU3 | CU4 | CU5 | CU6 | CU7 | CU8 | CU9 | CU10 | CU11 | CU12 | CU13 | CU14 | RCR | CU | CU1 | CU2 | CU3 | CU4 | CU5 | CU6 | CU7 | CU8 | CU9 | CU10 | CU11 | CU12 | CU13 | CU14 | RCR | CU | CU1 | CU2 | CU3 | CU4 | CU5 | CU6 | CU7 | CU8 | CU9 | CU10 | CU11 | CU12 | CU13 | CU14
| Room Area | 0 | ft2 |  |  |  | 0 | 119 | 119 | 119 | 116 | 116 | 116 | 111 | 111 | 111 | 106 | 106 | 106 | 102 | 102 | 102 | 0 | 119 | 119 | 119 | 116 | 116 | 116 | 111 | 111 | 111 | 106 | 106 | 106 | 102 | 102 | 102 | 0 | 119 | 119 | 119 | 116 | 116 | 116 | 111 | 111 | 111 | 106 | 106 | 106 | 102 | 102 | 102
| Luminaire Height |  | ft |  |  |  | 1 | 105 | 101 | 97 | 103 | 99 | 96 | 98 | 95 | 93 | 95 | 92 | 90 | 91 | 89 | 87 | 1 | 105 | 101 | 98 | 103 | 100 | 96 | 99 | 96 | 93 | 95 | 93 | 90 | 91 | 90 | 88 | 1 | 105 | 101 | 97 | 103 | 99 | 96 | 98 | 95 | 93 | 95 | 92 | 90 | 91 | 89 | 87
| Work Plane | 2.5 | ft |  |  |  | 2 | 93 | 86 | 81 | 91 | 85 | 80 | 87 | 82 | 78 | 84 | 80 | 76 | 81 | 78 | 75 | 2 | 93 | 87 | 82 | 91 | 86 | 81 | 88 | 83 | 79 | 85 | 81 | 77 | 82 | 78 | 75 | 2 | 93 | 86 | 81 | 91 | 85 | 80 | 87 | 82 | 78 | 84 | 80 | 76 | 81 | 78 | 75
| Room Cavity Ratio (RCR) | #DIV/0! |  |  |  |  | 3 | 82 | 74 | 68 | 81 | 73 | 68 | 78 | 72 | 67 | 75 | 70 | 65 | 72 | 68 | 64 | 3 | 83 | 75 | 69 | 81 | 74 | 69 | 78 | 73 | 68 | 76 | 71 | 66 | 73 | 69 | 65 | 3 | 82 | 74 | 68 | 81 | 73 | 68 | 78 | 72 | 67 | 75 | 70 | 65 | 72 | 68 | 64
| ceiling reflectance (rc) | 80 |  |  |  |  | 4 | 73 | 65 | 59 | 72 | 64 | 58 | 70 | 63 | 58 | 67 | 61 | 57 | 65 | 60 | 56 | 4 | 74 | 66 | 60 | 73 | 65 | 60 | 71 | 64 | 59 | 68 | 63 | 58 | 66 | 61 | 57 | 4 | 73 | 65 | 59 | 72 | 64 | 58 | 70 | 63 | 58 | 67 | 61 | 57 | 65 | 60 | 56
| wall reflectance (rw) | 50 |  |  |  |  | 5 | 66 | 57 | 51 | 65 | 57 | 51 | 63 | 56 | 50 | 61 | 55 | 50 | 59 | 54 | 49 | 5 | 67 | 59 | 52 | 66 | 58 | 52 | 64 | 57 | 52 | 62 | 56 | 51 | 60 | 55 | 50 | 5 | 66 | 57 | 51 | 65 | 57 | 51 | 63 | 56 | 50 | 61 | 55 | 50 | 59 | 54 | 49
| floor reflectance (rf) | 20 |  |  |  |  | 6 | 60 | 51 | 45 | 59 | 51 | 45 | 57 | 50 | 44 | 55 | 49 | 44 | 54 | 48 | 44 | 6 | 61 | 52 | 46 | 60 | 52 | 46 | 58 | 51 | 46 | 56 | 50 | 45 | 55 | 49 | 45 | 6 | 60 | 51 | 45 | 59 | 51 | 45 | 57 | 50 | 44 | 55 | 49 | 44 | 54 | 48 | 44
[7 empty] | 7 | 54 | 46 | 40 | 54 | 46 | 40 | 52 | 45 | 40 | 51 | 44 | 39 | 49 | 44 | 39 | 7 | 55 | 47 | 41 | 55 | 47 | 41 | 53 | 46 | 41 | 52 | 45 | 41 | 50 | 45 | 40 | 7 | 54 | 46 | 40 | 54 | 46 | 40 | 52 | 45 | 40 | 51 | 44 | 39 | 49 | 44 | 39
Luminaire: | Model |  |  | 14 |  |  | 8 | 50 | 42 | 36 | 49 | 41 | 36 | 48 | 41 | 36 | 47 | 40 | 35 | 45 | 40 | 35 | 8 | 51 | 43 | 37 | 50 | 42 | 37 | 49 | 42 | 37 | 48 | 41 | 37 | 46 | 41 | 36 | 8 | 50 | 42 | 36 | 49 | 41 | 36 | 48 | 41 | 36 | 47 | 40 | 35 | 45 | 40 | 35
| Lumens | #N/A | lm |  |  |  | 9 | 46 | 38 | 33 | 45 | 38 | 32 | 44 | 37 | 32 | 43 | 37 | 32 | 42 | 36 | 32 | 9 | 47 | 39 | 34 | 46 | 39 | 34 | 45 | 38 | 33 | 44 | 38 | 33 | 43 | 37 | 33 | 9 | 46 | 38 | 33 | 45 | 38 | 32 | 44 | 37 | 32 | 43 | 37 | 32 | 42 | 36 | 32
| Watts | #N/A | W |  |  |  | 10 | 42 | 35 | 30 | 42 | 34 | 30 | 41 | 34 | 29 | 40 | 34 | 29 | 39 | 33 | 29 | 10 | 43 | 36 | 31 | 43 | 36 | 31 | 42 | 35 | 30 | 41 | 35 | 30 | 40 | 34 | 30 | 10 | 42 | 35 | 30 | 42 | 34 | 30 | 41 | 34 | 29 | 40 | 34 | 29 | 39 | 33 | 29
| Coefficient of Utilization | #DIV/0!
| Spacing Criteria (0-180°) | 1.26 |  |  |  |  | y | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | y | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | y | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Spacing Criteria (90-270°) | 1.24 |  |  |  |  | c3 | -0.035742 | -0.06488 | -0.088578 | -0.028166 | -0.062743 | -0.078089 | -0.026807 | -0.049922 | -0.06857 | -0.02603 | -0.035742 | -0.05439 | -0.023504 | -0.038073 | -0.046037 | c3 | -0.035354 | -0.060218 | -0.082751 | -0.032246 | -0.051088 | -0.071873 | -0.025447 | -0.044095 | -0.066628 | -0.021368 | -0.027195 | -0.058469 | -0.018842 | -0.036519 | -0.044483 | c3 | -0.035742 | -0.06488 | -0.088578 | -0.028166 | -0.062743 | -0.078089 | -0.026807 | -0.049922 | -0.06857 | -0.02603 | -0.035742 | -0.05439 | -0.023504 | -0.038073 | -0.046037
| Light Loss Factor (LLF) | 0.9 |  |  |  |  | c2 | 1.1247 | 1.7681 | 2.2657 | 0.98077 | 1.6719 | 2.0536 | 0.91958 | 1.4073 | 1.8164 | 0.88345 | 1.1538 | 1.5303 | 0.81876 | 1.1224 | 1.3444 | c2 | 1.0956 | 1.662 | 2.1608 | 1.0256 | 1.4971 | 1.9324 | 0.88869 | 1.3024 | 1.7407 | 0.78904 | 0.99767 | 1.5589 | 0.72436 | 1.0828 | 1.3048 | c2 | 1.1247 | 1.7681 | 2.2657 | 0.98077 | 1.6719 | 2.0536 | 0.91958 | 1.4073 | 1.8164 | 0.88345 | 1.1538 | 1.5303 | 0.81876 | 1.1224 | 1.3444
[7 empty] | c1 | -15.3757 | -19.6053 | -22.6737 | -14.4211 | -18.6511 | -21.3531 | -13.5082 | -16.777 | -19.5101 | -12.8644 | -15.1671 | -17.5738 | -12.1519 | -14.3361 | -16.1445 | c1 | -15.0113 | -18.8955 | -22.12 | -14.364 | -17.8936 | -20.6088 | -13.2618 | -16.2234 | -18.8419 | -12.2712 | -14.3621 | -17.3535 | -11.5587 | -14.0113 | -15.8197 | c1 | -15.3757 | -19.6053 | -22.6737 | -14.4211 | -18.6511 | -21.3531 | -13.5082 | -16.777 | -19.5101 | -12.8644 | -15.1671 | -17.5738 | -12.1519 | -14.3361 | -16.1445
[7 empty] | b | 119.1608 | 118.8951 | 118.3357 | 116.1608 | 115.993 | 115.6364 | 110.8182 | 110.7203 | 110.8322 | 106.3776 | 106.007 | 105.9021 | 102.1119 | 102.1399 | 101.965 | b | 118.979 | 118.6853 | 118.5455 | 116.0629 | 116.1189 | 115.4476 | 111.1119 | 110.9301 | 110.6084 | 106.2517 | 106.0979 | 105.9231 | 101.986 | 102.2937 | 102.1189 | b | 119.1608 | 118.8951 | 118.3357 | 116.1608 | 115.993 | 115.6364 | 110.8182 | 110.7203 | 110.8322 | 106.3776 | 106.007 | 105.9021 | 102.1119 | 102.1399 | 101.965
Estimated Light Levels Based on Known Quantity | [6 empty] | x | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | x | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | x | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
# luminaires
| Estimated Light Level | #N/A | fc |  |  |  | RC | RW | CU1: Size; CU2: CU
| Total Watts | #N/A | W |  |  | CU | 80 | 50 | CU1: 24; CU2: #DIV/0!
| LPD | #N/A | W/ft2 |  |  | CU1 | 80 | 30 | CU1: 24; CU2: #DIV/0!
[6 empty] | CU2 | 80 | 10 | CU1: 24; CU2: #DIV/0!
[6 empty] | CU3 | 70 | 50 | CU1: 24; CU2: #DIV/0!
Estimated Luminaire Layout Based on Target Light Levels: | [5 empty] | CU4 | 70 | 30 | CU1: 24; CU2: #DIV/0!
| Desired Light Level |  | fc | #N/A |  | CU5 | 70 | 10 | CU1: 24; CU2: #DIV/0!
| # Fixtures (x) | #N/A |  | #N/A |  | CU6 | 50 | 50 | CU1: 24; CU2: #DIV/0!
| # Fixtures (y) | #N/A |  | #N/A |  | CU7 | 50 | 30 | CU1: 24; CU2: #DIV/0!
| Total # of Luminaires | #N/A |  | #N/A |  | CU8 | 50 | 10 | CU1: 24; CU2: #DIV/0!
| Estimated Light Level | #N/A | fc |  |  | CU9 | 30 | 50 | CU1: 24; CU2: #DIV/0!
| Fixture Orientation | 0 | deg |  |  | CU10 | 30 | 30 | CU1: 24; CU2: #DIV/0!
| Fixture Spacing (x) | #N/A | ft | 1.24 | -3.1 | CU11 | 30 | 10 | CU1: 24; CU2: #DIV/0!
| Fixture Spacing (y) | #N/A | ft | 1.26 | -3.15 | CU12 | 10 | 50 | CU1: 24; CU2: #DIV/0!
| Wall Spacing (x) | #N/A | ft |  |  | CU13 | 10 | 30 | CU1: 24; CU2: #DIV/0!
| Wall Spacing (y) | #N/A | ft |  |  | CU14 | 10 | 10 | CU1: 24; CU2: #DIV/0!
| Total Watts | #N/A | W |  |  | CU | 80 | 50 | CU1: 22; CU2: #DIV/0!
| LPD | #N/A | W/ft2 |  |  | CU1 | 80 | 30 | CU1: 22; CU2: #DIV/0!
[6 empty] | CU2 | 80 | 10 | CU1: 22; CU2: #DIV/0!
[6 empty] | CU3 | 70 | 50 | CU1: 22; CU2: #DIV/0!
* The above calculations are a rough estimate only. Actual results may vary depending on field conditions. LumenFocus makes no warranties as to the performance predicted by the above calculations. Please contact your LumenFocus representative for a more detailed photometric analysis. | [5 empty] | CU4 | 70 | 30 | CU1: 22; CU2: #DIV/0!
[6 empty] | CU5 | 70 | 10 | CU1: 22; CU2: #DIV/0!
[6 empty] | CU6 | 50 | 50 | CU1: 22; CU2: #DIV/0!
[6 empty] | CU7 | 50 | 30 | CU1: 22; CU2: #DIV/0!
[6 empty] | CU8 | 50 | 10 | CU1: 22; CU2: #DIV/0!
[6 empty] | CU9 | 30 | 50 | CU1: 22; CU2: #DIV/0!
[6 empty] | CU10 | 30 | 30 | CU1: 22; CU2: #DIV/0!
[6 empty] | CU11 | 30 | 10 | CU1: 22; CU2: #DIV/0!
[6 empty] | CU12 | 10 | 50 | CU1: 22; CU2: #DIV/0!
[6 empty] | CU13 | 10 | 30 | CU1: 22; CU2: #DIV/0!
[6 empty] | CU14 | 10 | 10 | CU1: 22; CU2: #DIV/0!
[6 empty] | CU | 80 | 50 | CU1: 14; CU2: #DIV/0!
[6 empty] | CU1 | 80 | 30 | CU1: 14; CU2: #DIV/0!
[6 empty] | CU2 | 80 | 10 | CU1: 14; CU2: #DIV/0!
[6 empty] | CU3 | 70 | 50 | CU1: 14; CU2: #DIV/0!
[6 empty] | CU4 | 70 | 30 | CU1: 14; CU2: #DIV/0!
[6 empty] | CU5 | 70 | 10 | CU1: 14; CU2: #DIV/0!
[6 empty] | CU6 | 50 | 50 | CU1: 14; CU2: #DIV/0!
[6 empty] | CU7 | 50 | 30 | CU1: 14; CU2: #DIV/0!
[6 empty] | CU8 | 50 | 10 | CU1: 14; CU2: #DIV/0!
[6 empty] | CU9 | 30 | 50 | CU1: 14; CU2: #DIV/0!
[6 empty] | CU10 | 30 | 30 | CU1: 14; CU2: #DIV/0!
[6 empty] | CU11 | 30 | 10 | CU1: 14; CU2: #DIV/0!
[6 empty] | CU12 | 10 | 50 | CU1: 14; CU2: #DIV/0!
[6 empty] | CU13 | 10 | 30 | CU1: 14; CU2: #DIV/0!
[6 empty] | CU14 | 10 | 10 | CU1: 14; CU2: #DIV/0!
[7 empty] | Model | Lumens | CU1: Watts; CU4: RC; CU5: RW; CU6: RF; CU8: Size; CU9: 0-180; CU10: 90-270; CU12: Orientation
[7 empty] | ETL 22 LW UV A12 835 | 2211 | CU1: 20; CU4: 80; CU5: 50; CU6: 20; CU8: 24; CU9: 1.26; CU10: 1.24; CU12: 0
[7 empty] | ETL 22 MD UV A12 835 | 3731 | CU1: 30; CU4: 70; CU5: 30; CU8: 22; CU9: 1.22; CU10: 1.24; CU12: 90
[7 empty] | ETL 22 HI UV A12 835 | 4318 | CU1: 36; CU4: 50; CU5: 10; CU8: 14; CU9: 1.26; CU10: 1.24
[7 empty] | ETL 22 VH UV A12 835 | 5178 | CU1: 46; CU4: 30
[7 empty] | ETL 24 VL UV A12 835 | 3399 | CU1: 26; CU4: 10
[7 empty] | ETL 24 LW UV A12 835 | 3819 | CU1: 30
[7 empty] | ETL 24 MD UV A12 835 | 5241 | CU1: 44
[7 empty] | ETL 24 HI UV A12 835 | 6197 | CU1: 55
[7 empty] | ETL 24 VH UV A12 835 | 6873 | CU1: 64
[7 empty] | ETL 24 SH UV A12 835 | 8859 | CU1: 67
[7 empty] | ETL 14 LW UV A12 835 | 2211 | CU1: 20
[7 empty] | ETL 14 MD UV A12 835 | 3731 | CU1: 30
[7 empty] | ETL 14 HI UV A12 835 | 4318 | CU1: 36
[7 empty] | ETL 14 VH UV A12 835 | 5178 | CU1: 46
[7 empty] | ETL 22 LW UV A12 840 | 2280 | CU1: 20
[7 empty] | ETL 22 MD UV A12 840 | 3847 | CU1: 30
[7 empty] | ETL 22 HI UV A12 840 | 4452 | CU1: 36
[7 empty] | ETL 22 VH UV A12 840 | 5338 | CU1: 46
[7 empty] | ETL 24 VL UV A12 840 | 3504 | CU1: 26
[7 empty] | ETL 24 LW UV A12 840 | 3937 | CU1: 30
[7 empty] | ETL 24 MD UV A12 840 | 5403 | CU1: 44
[7 empty] | ETL 24 HI UV A12 840 | 6388 | CU1: 55
[7 empty] | ETL 24 VH UV A12 840 | 7086 | CU1: 64
[7 empty] | ETL 24 SH UV A12 840 | 9133 | CU1: 67
[7 empty] | ETL 14 LW UV A12 840 | 2280 | CU1: 20
[7 empty] | ETL 14 MD UV A12 840 | 3847 | CU1: 30
[7 empty] | ETL 14 HI UV A12 840 | 4452 | CU1: 36
[7 empty] | ETL 14 VH UV A12 840 | 5338 | CU1: 46
[7 empty] | ETL 22 LW UV A12 850 | 2348 | CU1: 20
[7 empty] | ETL 22 MD UV A12 850 | 3962 | CU1: 30
[7 empty] | ETL 22 HI UV A12 850 | 4585 | CU1: 36
[7 empty] | ETL 22 VH UV A12 850 | 5499 | CU1: 46
[7 empty] | ETL 24 VL UV A12 850 | 3609 | CU1: 26
[7 empty] | ETL 24 LW UV A12 850 | 4056 | CU1: 30
[7 empty] | ETL 24 MD UV A12 850 | 5565 | CU1: 44
[7 empty] | ETL 24 HI UV A12 850 | 6580 | CU1: 55
[7 empty] | ETL 24 VH UV A12 850 | 7299 | CU1: 64
[7 empty] | ETL 24 SH UV A12 850 | 9407 | CU1: 67
[7 empty] | ETL 14 LW UV A12 850 | 2348 | CU1: 20
[7 empty] | ETL 14 MD UV A12 850 | 3962 | CU1: 30
[7 empty] | ETL 14 HI UV A12 850 | 4585 | CU1: 36
[7 empty] | ETL 14 VH UV A12 850 | 5499 | CU1: 46