## NVL
Project Name:
Room Estimator | [102 empty] | Project Location:
NVL Vaportight Strip | [102 empty] | Project #:
[7 empty] | FRA | [15 empty] | FDA | [15 empty] | FSA | [15 empty] | CRA | [15 empty] | CDA | [15 empty] | CSA
[7 empty] | RC | 80 | 80 | 80 | 70 | 70 | 70 | 50 | 50 | 50 | 30 | 30 | 30 | 10 | 10 | 10 | RC | 80 | 80 | 80 | 70 | 70 | 70 | 50 | 50 | 50 | 30 | 30 | 30 | 10 | 10 | 10 | RC | 80 | 80 | 80 | 70 | 70 | 70 | 50 | 50 | 50 | 30 | 30 | 30 | 10 | 10 | 10 | RC | 80 | 80 | 80 | 70 | 70 | 70 | 50 | 50 | 50 | 30 | 30 | 30 | 10 | 10 | 10 | RC | 80 | 80 | 80 | 70 | 70 | 70 | 50 | 50 | 50 | 30 | 30 | 30 | 10 | 10 | 10 | RC | 80 | 80 | 80 | 70 | 70 | 70 | 50 | 50 | 50 | 30 | 30 | 30 | 10 | 10 | 10
Area: | Room Length (x) |  | ft |  |  |  | RW | 50 | 30 | 10 | 50 | 30 | 10 | 50 | 30 | 10 | 50 | 30 | 10 | 50 | 30 | 10 | RW | 50 | 30 | 10 | 50 | 30 | 10 | 50 | 30 | 10 | 50 | 30 | 10 | 50 | 30 | 10 | RW | 50 | 30 | 10 | 50 | 30 | 10 | 50 | 30 | 10 | 50 | 30 | 10 | 50 | 30 | 10 | RW | 50 | 30 | 10 | 50 | 30 | 10 | 50 | 30 | 10 | 50 | 30 | 10 | 50 | 30 | 10 | RW | 50 | 30 | 10 | 50 | 30 | 10 | 50 | 30 | 10 | 50 | 30 | 10 | 50 | 30 | 10 | RW | 50 | 30 | 10 | 50 | 30 | 10 | 50 | 30 | 10 | 50 | 30 | 10 | 50 | 30 | 10
| Room Width (y) |  | ft |  |  |  | RCR | CU | CU1 | CU2 | CU3 | CU4 | CU5 | CU6 | CU7 | CU8 | CU9 | CU10 | CU11 | CU12 | CU13 | CU14 | RCR | CU | CU1 | CU2 | CU3 | CU4 | CU5 | CU6 | CU7 | CU8 | CU9 | CU10 | CU11 | CU12 | CU13 | CU14 | RCR | CU | CU1 | CU2 | CU3 | CU4 | CU5 | CU6 | CU7 | CU8 | CU9 | CU10 | CU11 | CU12 | CU13 | CU14 | RCR | CU | CU1 | CU2 | CU3 | CU4 | CU5 | CU6 | CU7 | CU8 | CU9 | CU10 | CU11 | CU12 | CU13 | CU14 | RCR | CU | CU1 | CU2 | CU3 | CU4 | CU5 | CU6 | CU7 | CU8 | CU9 | CU10 | CU11 | CU12 | CU13 | CU14 | RCR | CU | CU1 | CU2 | CU3 | CU4 | CU5 | CU6 | CU7 | CU8 | CU9 | CU10 | CU11 | CU12 | CU13 | CU14
| Room Area | 0 | ft2 |  |  |  | 0 | 118 | 118 | 118 | 115 | 115 | 115 | 108 | 108 | 108 | 103 | 103 | 103 | 97 | 97 | 97 | 0 | 118 | 118 | 118 | 115 | 115 | 115 | 109 | 109 | 109 | 103 | 103 | 103 | 98 | 98 | 98 | 0 | 119 | 119 | 119 | 115 | 115 | 115 | 110 | 110 | 110 | 105 | 105 | 105 | 100 | 100 | 100 | 0 | 118 | 118 | 118 | 115 | 115 | 115 | 109 | 109 | 109 | 103 | 103 | 103 | 98 | 98 | 98 | 0 | 118 | 118 | 118 | 115 | 115 | 115 | 110 | 110 | 110 | 105 | 105 | 105 | 100 | 100 | 100 | 0 | 119 | 119 | 119 | 116 | 116 | 116 | 111 | 111 | 111 | 106 | 106 | 106 | 101 | 101 | 101
| Luminaire Height |  | ft |  |  |  | 1 | 101 | 97 | 93 | 99 | 94 | 91 | 93 | 90 | 87 | 89 | 86 | 83 | 84 | 82 | 80 | 1 | 102 | 97 | 93 | 99 | 95 | 91 | 94 | 90 | 87 | 89 | 86 | 84 | 85 | 83 | 81 | 1 | 102 | 98 | 94 | 100 | 96 | 92 | 95 | 92 | 89 | 91 | 88 | 85 | 87 | 85 | 83 | 1 | 102 | 98 | 94 | 100 | 95 | 92 | 95 | 91 | 88 | 90 | 87 | 85 | 86 | 84 | 82 | 1 | 103 | 99 | 95 | 100 | 96 | 93 | 96 | 92 | 89 | 91 | 89 | 86 | 87 | 85 | 83 | 1 | 104 | 100 | 96 | 102 | 98 | 94 | 97 | 94 | 91 | 93 | 91 | 88 | 89 | 87 | 85
| Work Plane | 2.5 | ft |  |  |  | 2 | 88 | 81 | 75 | 86 | 79 | 74 | 81 | 76 | 71 | 77 | 73 | 69 | 74 | 70 | 67 | 2 | 88 | 81 | 75 | 86 | 79 | 74 | 82 | 76 | 71 | 78 | 73 | 69 | 74 | 70 | 67 | 2 | 89 | 82 | 76 | 87 | 80 | 75 | 83 | 77 | 73 | 79 | 75 | 71 | 76 | 72 | 69 | 2 | 89 | 82 | 76 | 87 | 80 | 75 | 82 | 77 | 72 | 79 | 74 | 70 | 75 | 71 | 68 | 2 | 89 | 82 | 76 | 87 | 81 | 75 | 83 | 78 | 73 | 80 | 75 | 71 | 76 | 73 | 69 | 2 | 90 | 84 | 78 | 88 | 82 | 77 | 85 | 80 | 75 | 81 | 77 | 73 | 78 | 75 | 71
| Room Cavity Ratio (RCR) | #DIV/0! |  |  |  |  | 3 | 77 | 69 | 62 | 75 | 68 | 61 | 72 | 65 | 60 | 68 | 63 | 58 | 65 | 60 | 56 | 3 | 77 | 69 | 62 | 75 | 67 | 61 | 72 | 65 | 59 | 68 | 63 | 58 | 65 | 60 | 56 | 3 | 78 | 69 | 63 | 76 | 68 | 62 | 73 | 66 | 61 | 70 | 64 | 59 | 67 | 62 | 58 | 3 | 78 | 70 | 63 | 76 | 68 | 62 | 73 | 66 | 61 | 69 | 64 | 59 | 66 | 62 | 58 | 3 | 78 | 70 | 63 | 76 | 69 | 62 | 73 | 66 | 61 | 70 | 64 | 60 | 67 | 62 | 58 | 3 | 79 | 71 | 65 | 78 | 70 | 64 | 75 | 68 | 63 | 72 | 66 | 61 | 69 | 64 | 60
| ceiling reflectance (rc) | 70 |  |  |  |  | 4 | 68 | 60 | 53 | 67 | 58 | 52 | 64 | 56 | 51 | 61 | 55 | 50 | 58 | 53 | 48 | 4 | 68 | 59 | 52 | 66 | 58 | 52 | 63 | 56 | 50 | 61 | 54 | 49 | 58 | 53 | 48 | 4 | 69 | 60 | 53 | 67 | 59 | 52 | 65 | 57 | 51 | 62 | 56 | 51 | 59 | 54 | 50 | 4 | 69 | 60 | 53 | 67 | 59 | 53 | 64 | 57 | 52 | 62 | 55 | 50 | 59 | 54 | 49 | 4 | 69 | 60 | 53 | 68 | 59 | 53 | 65 | 57 | 52 | 62 | 56 | 51 | 60 | 54 | 50 | 4 | 70 | 61 | 55 | 69 | 60 | 54 | 66 | 59 | 53 | 64 | 57 | 52 | 61 | 56 | 52
| wall reflectance (rw) | 30 |  |  |  |  | 5 | 61 | 52 | 45 | 60 | 51 | 45 | 57 | 50 | 44 | 55 | 48 | 43 | 52 | 47 | 42 | 5 | 61 | 52 | 45 | 59 | 51 | 44 | 57 | 49 | 43 | 54 | 48 | 43 | 52 | 46 | 42 | 5 | 61 | 52 | 46 | 60 | 52 | 45 | 58 | 50 | 44 | 56 | 49 | 44 | 53 | 48 | 43 | 5 | 62 | 53 | 46 | 60 | 52 | 45 | 58 | 50 | 45 | 55 | 49 | 44 | 53 | 47 | 43 | 5 | 62 | 52 | 46 | 60 | 52 | 45 | 58 | 50 | 45 | 56 | 49 | 44 | 53 | 48 | 43 | 5 | 63 | 53 | 47 | 61 | 53 | 46 | 59 | 52 | 46 | 57 | 50 | 45 | 55 | 49 | 45
| floor reflectance (rf) | 20 |  |  |  |  | 6 | 55 | 46 | 40 | 54 | 45 | 39 | 52 | 44 | 39 | 49 | 43 | 38 | 47 | 42 | 37 | 6 | 55 | 45 | 39 | 53 | 45 | 39 | 51 | 44 | 38 | 49 | 42 | 37 | 47 | 41 | 37 | 6 | 55 | 46 | 40 | 54 | 46 | 39 | 52 | 45 | 39 | 50 | 43 | 38 | 48 | 42 | 38 | 6 | 55 | 46 | 40 | 54 | 46 | 40 | 52 | 45 | 39 | 50 | 43 | 38 | 48 | 42 | 38 | 6 | 55 | 46 | 40 | 54 | 46 | 39 | 52 | 45 | 39 | 50 | 43 | 38 | 48 | 42 | 38 | 6 | 56 | 47 | 41 | 55 | 47 | 41 | 53 | 46 | 40 | 52 | 45 | 40 | 50 | 44 | 39
[7 empty] | 7 | 50 | 41 | 35 | 49 | 41 | 35 | 47 | 40 | 34 | 45 | 39 | 34 | 43 | 37 | 33 | 7 | 49 | 41 | 34 | 48 | 40 | 34 | 46 | 39 | 33 | 45 | 38 | 33 | 43 | 37 | 32 | 7 | 50 | 41 | 35 | 49 | 41 | 35 | 47 | 40 | 34 | 46 | 39 | 34 | 44 | 38 | 33 | 7 | 50 | 41 | 35 | 49 | 41 | 35 | 47 | 40 | 35 | 46 | 39 | 34 | 44 | 38 | 33 | 7 | 50 | 41 | 35 | 49 | 41 | 35 | 47 | 40 | 34 | 46 | 39 | 34 | 44 | 38 | 33 | 7 | 51 | 42 | 36 | 50 | 42 | 36 | 48 | 41 | 35 | 47 | 40 | 35 | 45 | 39 | 35
Luminaire: | Model |  |  | CSA |  |  | 8 | 46 | 37 | 31 | 45 | 37 | 31 | 43 | 36 | 31 | 41 | 35 | 30 | 40 | 34 | 30 | 8 | 45 | 36 | 31 | 44 | 36 | 30 | 42 | 35 | 30 | 41 | 34 | 29 | 39 | 33 | 29 | 8 | 46 | 37 | 31 | 45 | 37 | 31 | 43 | 36 | 31 | 42 | 35 | 30 | 41 | 34 | 30 | 8 | 46 | 37 | 31 | 45 | 37 | 31 | 43 | 36 | 31 | 42 | 35 | 30 | 40 | 34 | 30 | 8 | 46 | 37 | 31 | 45 | 37 | 31 | 43 | 36 | 31 | 42 | 35 | 30 | 40 | 34 | 30 | 8 | 46 | 38 | 32 | 46 | 37 | 32 | 44 | 37 | 32 | 43 | 36 | 31 | 42 | 36 | 31
| Lumens | #N/A | lm |  |  |  | 9 | 42 | 34 | 28 | 41 | 33 | 28 | 40 | 33 | 28 | 38 | 32 | 27 | 37 | 31 | 27 | 9 | 41 | 33 | 27 | 41 | 33 | 27 | 39 | 32 | 27 | 38 | 31 | 26 | 36 | 30 | 26 | 9 | 42 | 34 | 28 | 41 | 33 | 28 | 40 | 33 | 28 | 39 | 32 | 27 | 37 | 31 | 27 | 9 | 42 | 34 | 28 | 41 | 33 | 28 | 40 | 33 | 28 | 39 | 32 | 27 | 37 | 31 | 27 | 9 | 42 | 33 | 28 | 41 | 33 | 28 | 40 | 33 | 27 | 38 | 32 | 27 | 37 | 31 | 27 | 9 | 43 | 34 | 29 | 42 | 34 | 29 | 41 | 33 | 28 | 40 | 33 | 28 | 38 | 32 | 28
| Watts | #N/A | W |  |  |  | 10 | 39 | 31 | 26 | 38 | 30 | 25 | 37 | 30 | 25 | 35 | 29 | 25 | 34 | 29 | 24 | 10 | 38 | 30 | 25 | 37 | 30 | 25 | 36 | 29 | 24 | 35 | 29 | 24 | 34 | 28 | 24 | 10 | 39 | 31 | 25 | 38 | 30 | 25 | 37 | 30 | 25 | 36 | 29 | 25 | 35 | 29 | 25 | 10 | 39 | 31 | 26 | 38 | 31 | 25 | 37 | 30 | 25 | 36 | 29 | 25 | 35 | 29 | 25 | 10 | 38 | 31 | 25 | 38 | 30 | 25 | 37 | 30 | 25 | 36 | 29 | 25 | 35 | 29 | 24 | 10 | 39 | 31 | 26 | 39 | 31 | 26 | 38 | 31 | 26 | 37 | 30 | 26 | 36 | 30 | 25
| Coefficient of Utilization | #DIV/0!
| Spacing Criteria (0-180°) | 1.3 |  |  |  |  | y | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | y | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | y | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | y | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | y | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | y | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Spacing Criteria (90-270°) | 1.28 |  |  |  |  | c3 | -0.056138 | -0.082362 | -0.11636 | -0.05439 | -0.088772 | -0.11577 | -0.04526 | -0.072844 | -0.095183 | -0.047591 | -0.066045 | -0.082751 | -0.03885 | -0.050311 | -0.072844 | c3 | -0.050894 | -0.082751 | -0.11655 | -0.051476 | -0.083333 | -0.10587 | -0.04157 | -0.074592 | -0.1014 | -0.043318 | -0.056138 | -0.077506 | -0.038073 | -0.052642 | -0.067599 | c3 | -0.04934 | -0.082751 | -0.1181 | -0.044483 | -0.082168 | -0.10587 | -0.03885 | -0.073427 | -0.091492 | -0.043512 | -0.059635 | -0.07634 | -0.038267 | -0.048563 | -0.0608 | c3 | -0.043512 | -0.072455 | -0.10645 | -0.044483 | -0.077506 | -0.10587 | -0.040016 | -0.068765 | -0.092852 | -0.03749 | -0.056138 | -0.071678 | -0.032246 | -0.042347 | -0.057304 | c3 | -0.048174 | -0.070124 | -0.11111 | -0.041764 | -0.073427 | -0.10198 | -0.037685 | -0.069153 | -0.087607 | -0.038073 | -0.058469 | -0.070707 | -0.031274 | -0.044289 | -0.066628 | c3 | -0.043901 | -0.071678 | -0.09965 | -0.036131 | -0.067988 | -0.09596 | -0.028943 | -0.055361 | -0.0777 | -0.033605 | -0.051282 | -0.067988 | -0.028361 | -0.038656 | -0.058469
| Light Loss Factor (LLF) | 0.9 |  |  |  |  | c2 | 1.5414 | 2.1317 | 2.8071 | 1.4814 | 2.1824 | 2.7436 | 1.2861 | 1.8689 | 2.324 | 1.292 | 1.697 | 2.0653 | 1.1235 | 1.4038 | 1.8397 | c2 | 1.4534 | 2.1352 | 2.8135 | 1.461 | 2.123 | 2.6078 | 1.2587 | 1.9079 | 2.458 | 1.2383 | 1.5705 | 1.9983 | 1.1305 | 1.4621 | 1.7867 | c2 | 1.4452 | 2.1608 | 2.8205 | 1.3316 | 2.0635 | 2.5938 | 1.2075 | 1.8974 | 2.3083 | 1.2471 | 1.6183 | 1.9866 | 1.1486 | 1.4056 | 1.6906 | c2 | 1.3287 | 1.9703 | 2.6457 | 1.3316 | 2.0041 | 2.5728 | 1.2191 | 1.803 | 2.2762 | 1.1334 | 1.5355 | 1.8934 | 1.0256 | 1.2832 | 1.6078 | c2 | 1.3881 | 1.947 | 2.7051 | 1.2803 | 1.9242 | 2.5321 | 1.197 | 1.8322 | 2.2209 | 1.1573 | 1.6078 | 1.9021 | 1.0344 | 1.3403 | 1.7605 | c2 | 1.3252 | 1.9516 | 2.5146 | 1.1958 | 1.8508 | 2.4231 | 1.0577 | 1.595 | 2.0711 | 1.0763 | 1.4883 | 1.8566 | 0.9662 | 1.2325 | 1.6078
[7 empty] | c1 | -17.695 | -21.7556 | -25.6278 | -17.0843 | -21.4223 | -24.8376 | -15.4157 | -19.2016 | -21.9981 | -14.9577 | -17.7498 | -20.1643 | -13.6301 | -15.8151 | -18.4103 | c1 | -17.4654 | -21.8636 | -25.7739 | -17.2416 | -21.3963 | -24.481 | -15.7207 | -19.6026 | -22.9161 | -14.8454 | -17.4864 | -20.1445 | -13.9176 | -16.3815 | -18.5303 | c1 | -17.5008 | -22.12 | -25.7723 | -16.5878 | -20.9464 | -24.3411 | -15.4693 | -19.6422 | -22.4196 | -15.0148 | -17.8034 | -20.2179 | -14.1803 | -16.3221 | -18.3361 | c1 | -16.8306 | -21.1426 | -25.0148 | -16.5878 | -20.7028 | -24.1313 | -15.3959 | -19.049 | -21.8547 | -14.2918 | -17.1368 | -19.5909 | -13.364 | -15.5206 | -17.6694 | c1 | -17.0742 | -21.1985 | -25.2584 | -16.3364 | -20.4103 | -24.1294 | -15.5089 | -19.4134 | -21.9514 | -14.6857 | -17.843 | -19.9503 | -13.7234 | -16.0932 | -18.54 | c1 | -16.8687 | -21.1737 | -24.4709 | -16.0688 | -20.2444 | -23.6348 | -14.9728 | -18.4487 | -21.4549 | -14.3085 | -17.3881 | -19.8026 | -13.3574 | -15.5925 | -17.843
[7 empty] | b | 117.6923 | 117.3636 | 116.979 | 114.8042 | 114.3217 | 114.1818 | 107.6014 | 107.7203 | 107.3706 | 102.7483 | 102.6084 | 102.2028 | 96.8741 | 96.6853 | 96.8741 | b | 117.9091 | 117.4336 | 117.0839 | 114.958 | 114.5944 | 114.0629 | 108.7972 | 108.4755 | 108.3427 | 102.8881 | 102.5385 | 102.5524 | 97.8531 | 97.8462 | 97.7972 | b | 118.6713 | 118.5455 | 118.0769 | 115.1119 | 114.8322 | 114.4895 | 109.6783 | 109.8112 | 109.6503 | 104.8462 | 104.6853 | 104.2797 | 100.042 | 99.8601 | 99.7762 | b | 117.7972 | 117.5874 | 117.2028 | 115.1119 | 114.4126 | 114.3566 | 108.951 | 108.6853 | 108.3217 | 103.0979 | 102.8322 | 102.7622 | 98.0629 | 97.972 | 97.9231 | b | 118.2168 | 117.951 | 117.6224 | 114.993 | 114.8042 | 114.7063 | 110.014 | 109.8671 | 109.3916 | 104.8462 | 105.021 | 104.5315 | 99.8322 | 99.9161 | 99.8601 | b | 119.1259 | 119.0909 | 118.4755 | 116.2448 | 116.049 | 115.6643 | 110.986 | 110.9161 | 110.6993 | 106.021 | 106.3147 | 105.9091 | 101.1329 | 101.1818 | 101.021
Estimated Light Levels Based on Known Quantity | [6 empty] | x | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | x | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | x | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | x | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | x | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | x | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
# luminaires
| Estimated Light Level | #N/A | fc |  |  |  | RC | RW | CU1: Lens; CU2: CU
| Total Watts | #N/A | W |  |  | CU | 80 | 50 | CU1: FRA; CU2: #DIV/0!
| LPD | #N/A | W/ft2 |  |  | CU1 | 80 | 30 | CU1: FRA; CU2: #DIV/0!
[6 empty] | CU2 | 80 | 10 | CU1: FRA; CU2: #DIV/0!
[6 empty] | CU3 | 70 | 50 | CU1: FRA; CU2: #DIV/0!
Estimated Luminaire Layout Based on Target Light Levels: | [5 empty] | CU4 | 70 | 30 | CU1: FRA; CU2: #DIV/0!
| Desired Light Level |  | fc | #N/A |  | CU5 | 70 | 10 | CU1: FRA; CU2: #DIV/0!
| # Fixtures (x) | #N/A |  | #N/A |  | CU6 | 50 | 50 | CU1: FRA; CU2: #DIV/0!
| # Fixtures (y) | #N/A |  | #N/A |  | CU7 | 50 | 30 | CU1: FRA; CU2: #DIV/0!
| Total # of Luminaires | #N/A |  | #N/A |  | CU8 | 50 | 10 | CU1: FRA; CU2: #DIV/0!
| Estimated Light Level | #N/A | fc |  |  | CU9 | 30 | 50 | CU1: FRA; CU2: #DIV/0!
| Fixture Orientation | 0 | deg |  |  | CU10 | 30 | 30 | CU1: FRA; CU2: #DIV/0!
| Fixture Spacing (x) | #N/A | ft | 1.28 | -3.2 | CU11 | 30 | 10 | CU1: FRA; CU2: #DIV/0!
| Fixture Spacing (y) | #N/A | ft | 1.3 | -3.25 | CU12 | 10 | 50 | CU1: FRA; CU2: #DIV/0!
| Wall Spacing (x) | #N/A | ft |  |  | CU13 | 10 | 30 | CU1: FRA; CU2: #DIV/0!
| Wall Spacing (y) | #N/A | ft |  |  | CU14 | 10 | 10 | CU1: FRA; CU2: #DIV/0!
| Total Watts | #N/A | W |  |  | CU | 80 | 50 | CU1: FDA; CU2: #DIV/0!
| LPD | #N/A | W/ft2 |  |  | CU1 | 80 | 30 | CU1: FDA; CU2: #DIV/0!
[6 empty] | CU2 | 80 | 10 | CU1: FDA; CU2: #DIV/0!
[6 empty] | CU3 | 70 | 50 | CU1: FDA; CU2: #DIV/0!
* The above calculations are a rough estimate only. Actual results may vary depending on field conditions. LumenFocus makes no warranties as to the performance predicted by the above calculations. Please contact your LumenFocus representative for a more detailed photometric analysis. | [5 empty] | CU4 | 70 | 30 | CU1: FDA; CU2: #DIV/0!
[6 empty] | CU5 | 70 | 10 | CU1: FDA; CU2: #DIV/0!
[6 empty] | CU6 | 50 | 50 | CU1: FDA; CU2: #DIV/0!
[6 empty] | CU7 | 50 | 30 | CU1: FDA; CU2: #DIV/0!
[6 empty] | CU8 | 50 | 10 | CU1: FDA; CU2: #DIV/0!
[6 empty] | CU9 | 30 | 50 | CU1: FDA; CU2: #DIV/0!
[6 empty] | CU10 | 30 | 30 | CU1: FDA; CU2: #DIV/0!
[6 empty] | CU11 | 30 | 10 | CU1: FDA; CU2: #DIV/0!
[6 empty] | CU12 | 10 | 50 | CU1: FDA; CU2: #DIV/0!
[6 empty] | CU13 | 10 | 30 | CU1: FDA; CU2: #DIV/0!
[6 empty] | CU14 | 10 | 10 | CU1: FDA; CU2: #DIV/0!
[6 empty] | CU | 80 | 50 | CU1: FSA; CU2: #DIV/0!
[6 empty] | CU1 | 80 | 30 | CU1: FSA; CU2: #DIV/0!
[6 empty] | CU2 | 80 | 10 | CU1: FSA; CU2: #DIV/0!
[6 empty] | CU3 | 70 | 50 | CU1: FSA; CU2: #DIV/0!
[6 empty] | CU4 | 70 | 30 | CU1: FSA; CU2: #DIV/0!
[6 empty] | CU5 | 70 | 10 | CU1: FSA; CU2: #DIV/0!
[6 empty] | CU6 | 50 | 50 | CU1: FSA; CU2: #DIV/0!
[6 empty] | CU7 | 50 | 30 | CU1: FSA; CU2: #DIV/0!
[6 empty] | CU8 | 50 | 10 | CU1: FSA; CU2: #DIV/0!
[6 empty] | CU9 | 30 | 50 | CU1: FSA; CU2: #DIV/0!
[6 empty] | CU10 | 30 | 30 | CU1: FSA; CU2: #DIV/0!
[6 empty] | CU11 | 30 | 10 | CU1: FSA; CU2: #DIV/0!
[6 empty] | CU12 | 10 | 50 | CU1: FSA; CU2: #DIV/0!
[6 empty] | CU13 | 10 | 30 | CU1: FSA; CU2: #DIV/0!
[6 empty] | CU14 | 10 | 10 | CU1: FSA; CU2: #DIV/0!
[6 empty] | CU | 80 | 50 | CU1: CRA; CU2: #DIV/0!
[6 empty] | CU1 | 80 | 30 | CU1: CRA; CU2: #DIV/0!
[6 empty] | CU2 | 80 | 10 | CU1: CRA; CU2: #DIV/0!
[6 empty] | CU3 | 70 | 50 | CU1: CRA; CU2: #DIV/0!
[6 empty] | CU4 | 70 | 30 | CU1: CRA; CU2: #DIV/0!
[6 empty] | CU5 | 70 | 10 | CU1: CRA; CU2: #DIV/0!
[6 empty] | CU6 | 50 | 50 | CU1: CRA; CU2: #DIV/0!
[6 empty] | CU7 | 50 | 30 | CU1: CRA; CU2: #DIV/0!
[6 empty] | CU8 | 50 | 10 | CU1: CRA; CU2: #DIV/0!
[6 empty] | CU9 | 30 | 50 | CRA | #DIV/0! |  | RC | RW | RF |  | Lens | 0-180 | 90-270 |  | Orientation
[6 empty] | CU10 | 30 | 30 | CRA | #DIV/0! |  | 80 | 50 | 20 |  | FRA | 1.24 | 1.16 |  | 0
[6 empty] | CU11 | 30 | 10 | CU1: CRA; CU2: #DIV/0!; CU4: 70; CU5: 30; CU8: FDA; CU9: 1.26; CU10: 1.28; CU12: 90
[6 empty] | CU12 | 10 | 50 | CU1: CRA; CU2: #DIV/0!; CU4: 50; CU5: 10; CU8: FSA; CU9: 1.26; CU10: 1.3
[6 empty] | CU13 | 10 | 30 | CU1: CRA; CU2: #DIV/0!; CU4: 30; CU8: CRA; CU9: 1.2; CU10: 0.8
[6 empty] | CU14 | 10 | 10 | CU1: CRA; CU2: #DIV/0!; CU4: 10; CU8: CDA; CU9: 1.3; CU10: 1.34
[6 empty] | CU | 80 | 50 | CU1: CDA; CU2: #DIV/0!; CU8: CSA; CU9: 1.3; CU10: 1.28
[6 empty] | CU1 | 80 | 30 | CU1: CDA; CU2: #DIV/0!
[6 empty] | CU2 | 80 | 10 | CU1: CDA; CU2: #DIV/0!
[6 empty] | CU3 | 70 | 50 | CU1: CDA; CU2: #DIV/0!
[6 empty] | CU4 | 70 | 30 | CU1: CDA; CU2: #DIV/0!
[6 empty] | CU5 | 70 | 10 | CU1: CDA; CU2: #DIV/0!
[6 empty] | CU6 | 50 | 50 | CU1: CDA; CU2: #DIV/0!
[6 empty] | CU7 | 50 | 30 | CU1: CDA; CU2: #DIV/0!
[6 empty] | CU8 | 50 | 10 | CU1: CDA; CU2: #DIV/0!
[6 empty] | CU9 | 30 | 50 | CU1: CDA; CU2: #DIV/0!
[6 empty] | CU10 | 30 | 30 | CU1: CDA; CU2: #DIV/0!
[6 empty] | CU11 | 30 | 10 | CU1: CDA; CU2: #DIV/0!
[6 empty] | CU12 | 10 | 50 | CU1: CDA; CU2: #DIV/0!
[6 empty] | CU13 | 10 | 30 | CU1: CDA; CU2: #DIV/0!
[6 empty] | CU14 | 10 | 10 | CU1: CDA; CU2: #DIV/0!
[6 empty] | CU | 80 | 50 | CU1: CSA; CU2: #DIV/0!
[6 empty] | CU1 | 80 | 30 | CU1: CSA; CU2: #DIV/0!
[6 empty] | CU2 | 80 | 10 | CU1: CSA; CU2: #DIV/0!
[6 empty] | CU3 | 70 | 50 | CU1: CSA; CU2: #DIV/0!
[6 empty] | CU4 | 70 | 30 | CU1: CSA; CU2: #DIV/0!
[6 empty] | CU5 | 70 | 10 | CU1: CSA; CU2: #DIV/0!
[6 empty] | CU6 | 50 | 50 | CU1: CSA; CU2: #DIV/0!
[6 empty] | CU7 | 50 | 30 | CU1: CSA; CU2: #DIV/0!
[6 empty] | CU8 | 50 | 10 | CU1: CSA; CU2: #DIV/0!
[6 empty] | CU9 | 30 | 50 | CU1: CSA; CU2: #DIV/0!
[6 empty] | CU10 | 30 | 30 | CU1: CSA; CU2: #DIV/0!
[6 empty] | CU11 | 30 | 10 | CU1: CSA; CU2: #DIV/0!
[6 empty] | CU12 | 10 | 50 | CU1: CSA; CU2: #DIV/0!
[6 empty] | CU13 | 10 | 30 | CU1: CSA; CU2: #DIV/0!
[6 empty] | CU14 | 10 | 10 | CU1: CSA; CU2: #DIV/0!
[7 empty] | Model | Lumens | CU1: Watts
[7 empty] | NVL 2 LW UV FRA 835 | 1248.4693 | CU1: 10
[7 empty] | NVL 2 MD UV FRA 835 | 2232.1531 | CU1: 18.1
[7 empty] | NVL 2 HI UV FRA 835 | 3275.745 | CU1: 26
[7 empty] | NVL 2 VH UV FRA 835 | 4270.3539 | CU1: 35
[7 empty] | NVL 2 SH UV FRA 835 | 5578.4383 | CU1: 45.8
[7 empty] | NVL 4 LW UV FRA 835 | 2296.6104 | CU1: 18.24
[7 empty] | NVL 4 MD UV FRA 835 | 4403.2585 | CU1: 34
[7 empty] | NVL 4 HI UV FRA 835 | 7077.7389 | CU1: 55
[7 empty] | NVL 4 VH UV FRA 835 | 8428.7021 | CU1: 66
[7 empty] | NVL 4 SH UV FRA 835 | 10478.0401 | CU1: 87.3
[7 empty] | NVL 8 SL UV FRA 835 | 4082.2689 | CU1: 30
[7 empty] | NVL 8 VL UV FRA 835 | 5987.0615 | CU1: 46
[7 empty] | NVL 8 LW UV FRA 835 | 8890.0019 | CU1: 66
[7 empty] | NVL 8 MD UV FRA 835 | 11175.7397 | CU1: 82
[7 empty] | NVL 8 HI UV FRA 835 | 13129.4047 | CU1: 100
[7 empty] | NVL 8 VH UV FRA 835 | 17058.886 | CU1: 134
[7 empty] | NVL 8 SH UV FRA 835 | 20900.6447 | CU1: 174
[7 empty] | NVL 2 LW UV FDA 835 | 1304.4765 | CU1: 10
[7 empty] | NVL 2 MD UV FDA 835 | 2321.9618 | CU1: 18
[7 empty] | NVL 2 HI UV FDA 835 | 3422.6972 | CU1: 26
[7 empty] | NVL 2 VH UV FDA 835 | 4461.9249 | CU1: 35
[7 empty] | NVL 2 SH UV FDA 835 | 5848.2552 | CU1: 46
[7 empty] | NVL 4 LW UV FDA 835 | 2373.6641 | CU1: 18
[7 empty] | NVL 4 MD UV FDA 835 | 4600.7917 | CU1: 34
[7 empty] | NVL 4 HI UV FDA 835 | 7395.2511 | CU1: 55
[7 empty] | NVL 4 VH UV FDA 835 | 8806.8193 | CU1: 66
[7 empty] | NVL 4 SH UV FDA 835 | 10948.092 | CU1: 87.3
[7 empty] | NVL 8 SL UV FDA 835 | 4265.2318 | CU1: 30
[7 empty] | NVL 8 VL UV FDA 835 | 6255.6452 | CU1: 46
[7 empty] | NVL 8 LW UV FDA 835 | 9288.8134 | CU1: 66
[7 empty] | NVL 8 MD UV FDA 835 | 11677.091 | CU1: 82
[7 empty] | NVL 8 HI UV FDA 835 | 13718.3987 | CU1: 100
[7 empty] | NVL 8 VH UV FDA 835 | 17824.1592 | CU1: 134
[7 empty] | NVL 8 SH UV FDA 835 | 21838.2618 | CU1: 174
[7 empty] | NVL 4 LW UV FSA 835 | 2359.7431 | CU1: 18
[7 empty] | NVL 4 MD UV FSA 835 | 4573.8091 | CU1: 34
[7 empty] | NVL 4 HI UV FSA 835 | 7351.8795 | CU1: 55
[7 empty] | NVL 4 VH UV FSA 835 | 8755.1693 | CU1: 66
[7 empty] | NVL 4 SH UV FSA 835 | 10883.8839 | CU1: 87.3
[7 empty] | NVL 2 LW UV CRA 835 | 1312.2713 | CU1: 10
[7 empty] | NVL 2 MD UV CRA 835 | 2346.2254 | CU1: 18.1
[7 empty] | NVL 2 HI UV CRA 835 | 3443.1493 | CU1: 26
[7 empty] | NVL 2 VH UV CRA 835 | 4488.5868 | CU1: 35
[7 empty] | NVL 2 SH UV CRA 835 | 5863.5198 | CU1: 45.8
[7 empty] | NVL 4 LW UV CRA 835 | 2387.8477 | CU1: 18
[7 empty] | NVL 4 MD UV CRA 835 | 4628.2834 | CU1: 34
[7 empty] | NVL 4 HI UV CRA 835 | 7439.4409 | CU1: 55
[7 empty] | NVL 4 VH UV CRA 835 | 8859.4439 | CU1: 66
[7 empty] | NVL 4 SH UV CRA 835 | 11013.5116 | CU1: 87.3
[7 empty] | NVL 8 SL UV CRA 835 | 4291.0906 | CU1: 30
[7 empty] | NVL 8 VL UV CRA 835 | 6293.0254 | CU1: 46
[7 empty] | NVL 8 LW UV CRA 835 | 9344.3181 | CU1: 66
[7 empty] | NVL 8 MD UV CRA 835 | 11746.8667 | CU1: 82
[7 empty] | NVL 8 HI UV CRA 835 | 13800.3721 | CU1: 100
[7 empty] | NVL 8 VH UV CRA 835 | 17930.6663 | CU1: 134
[7 empty] | NVL 8 SH UV CRA 835 | 21968.7549 | CU1: 174
[7 empty] | NVL 2 LW UV CDA 835 | 1314.1479 | CU1: 10
[7 empty] | NVL 2 MD UV CDA 835 | 2339.1768 | CU1: 18
[7 empty] | NVL 2 HI UV CDA 835 | 3448.0729 | CU1: 26
[7 empty] | NVL 2 VH UV CDA 835 | 4495.0055 | CU1: 35
[7 empty] | NVL 2 SH UV CDA 835 | 5891.614 | CU1: 46
[7 empty] | NVL 4 LW UV CDA 835 | 2391.2623 | CU1: 18
[7 empty] | NVL 4 MD UV CDA 835 | 4634.9018 | CU1: 34
[7 empty] | NVL 4 HI UV CDA 835 | 7450.0792 | CU1: 55
[7 empty] | NVL 4 VH UV CDA 835 | 8872.1128 | CU1: 66
[7 empty] | NVL 4 SH UV CDA 835 | 11029.2608 | CU1: 87.3
[7 empty] | NVL 8 SL UV CDA 835 | 4296.9454 | CU1: 30
[7 empty] | NVL 8 VL UV CDA 835 | 6302.0243 | CU1: 46
[7 empty] | NVL 8 LW UV CDA 835 | 9357.6803 | CU1: 66
[7 empty] | NVL 8 MD UV CDA 835 | 11763.6645 | CU1: 82
[7 empty] | NVL 8 HI UV CDA 835 | 13820.1064 | CU1: 100
[7 empty] | NVL 8 VH UV CDA 835 | 17956.3068 | CU1: 134
[7 empty] | NVL 8 SH UV CDA 835 | 22000.1699 | CU1: 174
[7 empty] | NVL 4 LW UV CSA 835 | 2404.0014 | CU1: 18
[7 empty] | NVL 4 MD UV CSA 835 | 4659.5935 | CU1: 34
[7 empty] | NVL 4 HI UV CSA 835 | 7489.7682 | CU1: 55
[7 empty] | NVL 4 VH UV CSA 835 | 8919.3775 | CU1: 66
[7 empty] | NVL 4 SH UV CSA 835 | 11088.0173 | CU1: 87.3
[7 empty] | NVL 2 LW UV FRA 840 | 1289.741 | CU1: 10
[7 empty] | NVL 2 MD UV FRA 840 | 2305.9433 | CU1: 18.1
[7 empty] | NVL 2 HI UV FRA 840 | 3384.0341 | CU1: 26
[7 empty] | NVL 2 VH UV FRA 840 | 4411.5227 | CU1: 35
[7 empty] | NVL 2 SH UV FRA 840 | 5762.8495 | CU1: 45.8
[7 empty] | NVL 4 LW UV FRA 840 | 2372.5314 | CU1: 18.24
[7 empty] | NVL 4 MD UV FRA 840 | 4548.8208 | CU1: 34
[7 empty] | NVL 4 HI UV FRA 840 | 7311.7137 | CU1: 55
[7 empty] | NVL 4 VH UV FRA 840 | 8707.3368 | CU1: 66
[7 empty] | NVL 4 SH UV FRA 840 | 10824.4215 | CU1: 87.3
[7 empty] | NVL 8 SL UV FRA 840 | 4217.2199 | CU1: 30
[7 empty] | NVL 8 VL UV FRA 840 | 6184.9809 | CU1: 46
[7 empty] | NVL 8 LW UV FRA 840 | 9183.8862 | CU1: 66
[7 empty] | NVL 8 MD UV FRA 840 | 11545.1857 | CU1: 82
[7 empty] | NVL 8 HI UV FRA 840 | 13563.4346 | CU1: 100
[7 empty] | NVL 8 VH UV FRA 840 | 17622.8161 | CU1: 134
[7 empty] | NVL 8 SH UV FRA 840 | 21591.5751 | CU1: 174
[7 empty] | NVL 2 LW UV FDA 840 | 1347.5997 | CU1: 10
[7 empty] | NVL 2 MD UV FDA 840 | 2398.7209 | CU1: 18
[7 empty] | NVL 2 HI UV FDA 840 | 3535.8442 | CU1: 26
[7 empty] | NVL 2 VH UV FDA 840 | 4609.4266 | CU1: 35
[7 empty] | NVL 2 SH UV FDA 840 | 6041.586 | CU1: 46
[7 empty] | NVL 4 LW UV FDA 840 | 2452.1323 | CU1: 18
[7 empty] | NVL 4 MD UV FDA 840 | 4752.884 | CU1: 34
[7 empty] | NVL 4 HI UV FDA 840 | 7639.7222 | CU1: 55
[7 empty] | NVL 4 VH UV FDA 840 | 9097.9539 | CU1: 66
[7 empty] | NVL 4 SH UV FDA 840 | 11310.0124 | CU1: 87.3
[7 empty] | NVL 8 SL UV FDA 840 | 4406.2312 | CU1: 30
[7 empty] | NVL 8 VL UV FDA 840 | 6462.4434 | CU1: 46
[7 empty] | NVL 8 LW UV FDA 840 | 9595.8816 | CU1: 66
[7 empty] | NVL 8 MD UV FDA 840 | 12063.1105 | CU1: 82
[7 empty] | NVL 8 HI UV FDA 840 | 14171.8995 | CU1: 100
[7 empty] | NVL 8 VH UV FDA 840 | 18413.3876 | CU1: 134
[7 empty] | NVL 8 SH UV FDA 840 | 22560.1878 | CU1: 174
[7 empty] | NVL 4 LW UV FSA 840 | 2437.7511 | CU1: 18
[7 empty] | NVL 4 MD UV FSA 840 | 4725.0094 | CU1: 34
[7 empty] | NVL 4 HI UV FSA 840 | 7594.9169 | CU1: 55
[7 empty] | NVL 4 VH UV FSA 840 | 9044.5964 | CU1: 66
[7 empty] | NVL 4 SH UV FSA 840 | 11243.6817 | CU1: 87.3
[7 empty] | NVL 2 LW UV CRA 840 | 1355.6522 | CU1: 10
[7 empty] | NVL 2 MD UV CRA 840 | 2423.7866 | CU1: 18.1
[7 empty] | NVL 2 HI UV CRA 840 | 3556.9724 | CU1: 26
[7 empty] | NVL 2 VH UV CRA 840 | 4636.9699 | CU1: 35
[7 empty] | NVL 2 SH UV CRA 840 | 6057.3551 | CU1: 45.8
[7 empty] | NVL 4 LW UV CRA 840 | 2466.7849 | CU1: 18
[7 empty] | NVL 4 MD UV CRA 840 | 4781.2845 | CU1: 34
[7 empty] | NVL 4 HI UV CRA 840 | 7685.3728 | CU1: 55
[7 empty] | NVL 4 VH UV CRA 840 | 9152.3181 | CU1: 66
[7 empty] | NVL 4 SH UV CRA 840 | 11377.5947 | CU1: 87.3
[7 empty] | NVL 8 SL UV CRA 840 | 4432.9448 | CU1: 30
[7 empty] | NVL 8 VL UV CRA 840 | 6501.0593 | CU1: 46
[7 empty] | NVL 8 LW UV CRA 840 | 9653.2211 | CU1: 66
[7 empty] | NVL 8 MD UV CRA 840 | 12135.1928 | CU1: 82
[7 empty] | NVL 8 HI UV CRA 840 | 14256.5827 | CU1: 100
[7 empty] | NVL 8 VH UV CRA 840 | 18523.4156 | CU1: 134
[7 empty] | NVL 8 SH UV CRA 840 | 22694.9947 | CU1: 174
[7 empty] | NVL 2 LW UV CDA 840 | 1357.5908 | CU1: 10
[7 empty] | NVL 2 MD UV CDA 840 | 2416.5049 | CU1: 18
[7 empty] | NVL 2 HI UV CDA 840 | 3562.0588 | CU1: 26
[7 empty] | NVL 2 VH UV CDA 840 | 4643.6007 | CU1: 35
[7 empty] | NVL 2 SH UV CDA 840 | 6086.3781 | CU1: 46
[7 empty] | NVL 4 LW UV CDA 840 | 2470.3123 | CU1: 18
[7 empty] | NVL 4 MD UV CDA 840 | 4788.1217 | CU1: 34
[7 empty] | NVL 4 HI UV CDA 840 | 7696.3628 | CU1: 55
[7 empty] | NVL 4 VH UV CDA 840 | 9165.4058 | CU1: 66
[7 empty] | NVL 4 SH UV CDA 840 | 11393.8645 | CU1: 87.3
[7 empty] | NVL 8 SL UV CDA 840 | 4438.9932 | CU1: 30
[7 empty] | NVL 8 VL UV CDA 840 | 6510.3557 | CU1: 46
[7 empty] | NVL 8 LW UV CDA 840 | 9667.0251 | CU1: 66
[7 empty] | NVL 8 MD UV CDA 840 | 12152.546 | CU1: 82
[7 empty] | NVL 8 HI UV CDA 840 | 14276.9695 | CU1: 100
[7 empty] | NVL 8 VH UV CDA 840 | 18549.9038 | CU1: 134
[7 empty] | NVL 8 SH UV CDA 840 | 22727.4483 | CU1: 174
[7 empty] | NVL 4 LW UV CSA 840 | 2483.4725 | CU1: 18
[7 empty] | NVL 4 MD UV CSA 840 | 4813.6296 | CU1: 34
[7 empty] | NVL 4 HI UV CSA 840 | 7737.3639 | CU1: 55
[7 empty] | NVL 4 VH UV CSA 840 | 9214.2329 | CU1: 66
[7 empty] | NVL 4 SH UV CSA 840 | 11454.5633 | CU1: 87.3
[7 empty] | NVL 2 LW UV FRA 850 | 1328.4333 | CU1: 10
[7 empty] | NVL 2 MD UV FRA 850 | 2375.1216 | CU1: 18.1
[7 empty] | NVL 2 HI UV FRA 850 | 3485.5552 | CU1: 26
[7 empty] | NVL 2 VH UV FRA 850 | 4543.8683 | CU1: 35
[7 empty] | NVL 2 SH UV FRA 850 | 5935.735 | CU1: 45.8
[7 empty] | NVL 4 LW UV FRA 850 | 2443.7073 | CU1: 18.24
[7 empty] | NVL 4 MD UV FRA 850 | 4685.2854 | CU1: 34
[7 empty] | NVL 4 HI UV FRA 850 | 7531.0651 | CU1: 55
[7 empty] | NVL 4 VH UV FRA 850 | 8968.5569 | CU1: 66
[7 empty] | NVL 4 SH UV FRA 850 | 11149.1542 | CU1: 87.3
[7 empty] | NVL 8 SL UV FRA 850 | 4343.7365 | CU1: 30
[7 empty] | NVL 8 VL UV FRA 850 | 6370.5303 | CU1: 46
[7 empty] | NVL 8 LW UV FRA 850 | 9459.4028 | CU1: 66
[7 empty] | NVL 8 MD UV FRA 850 | 11891.5412 | CU1: 82
[7 empty] | NVL 8 HI UV FRA 850 | 13970.3377 | CU1: 100
[7 empty] | NVL 8 VH UV FRA 850 | 18151.5006 | CU1: 134
[7 empty] | NVL 8 SH UV FRA 850 | 22239.3224 | CU1: 174
[7 empty] | NVL 2 LW UV FDA 850 | 1388.0277 | CU1: 10
[7 empty] | NVL 2 MD UV FDA 850 | 2470.6825 | CU1: 18
[7 empty] | NVL 2 HI UV FDA 850 | 3641.9195 | CU1: 26
[7 empty] | NVL 2 VH UV FDA 850 | 4747.7094 | CU1: 35
[7 empty] | NVL 2 SH UV FDA 850 | 6222.8335 | CU1: 46
[7 empty] | NVL 4 LW UV FDA 850 | 2525.6963 | CU1: 18
[7 empty] | NVL 4 MD UV FDA 850 | 4895.4705 | CU1: 34
[7 empty] | NVL 4 HI UV FDA 850 | 7868.9138 | CU1: 55
[7 empty] | NVL 4 VH UV FDA 850 | 9370.8925 | CU1: 66
[7 empty] | NVL 4 SH UV FDA 850 | 11649.3128 | CU1: 87.3
[7 empty] | NVL 8 SL UV FDA 850 | 4538.4182 | CU1: 30
[7 empty] | NVL 8 VL UV FDA 850 | 6656.3167 | CU1: 46
[7 empty] | NVL 8 LW UV FDA 850 | 9883.758 | CU1: 66
[7 empty] | NVL 8 MD UV FDA 850 | 12425.0038 | CU1: 82
[7 empty] | NVL 8 HI UV FDA 850 | 14597.0565 | CU1: 100
[7 empty] | NVL 8 VH UV FDA 850 | 18965.7892 | CU1: 134
[7 empty] | NVL 8 SH UV FDA 850 | 23236.9935 | CU1: 174
[7 empty] | NVL 4 LW UV FSA 850 | 2510.8836 | CU1: 18
[7 empty] | NVL 4 MD UV FSA 850 | 4866.7597 | CU1: 34
[7 empty] | NVL 4 HI UV FSA 850 | 7822.7644 | CU1: 55
[7 empty] | NVL 4 VH UV FSA 850 | 9315.9343 | CU1: 66
[7 empty] | NVL 4 SH UV FSA 850 | 11580.9922 | CU1: 87.3
[7 empty] | NVL 2 LW UV CRA 850 | 1396.3218 | CU1: 10
[7 empty] | NVL 2 MD UV CRA 850 | 2496.5002 | CU1: 18.1
[7 empty] | NVL 2 HI UV CRA 850 | 3663.6816 | CU1: 26
[7 empty] | NVL 2 VH UV CRA 850 | 4776.079 | CU1: 35
[7 empty] | NVL 2 SH UV CRA 850 | 6239.0758 | CU1: 45.8
[7 empty] | NVL 4 LW UV CRA 850 | 2540.7884 | CU1: 18
[7 empty] | NVL 4 MD UV CRA 850 | 4924.7231 | CU1: 34
[7 empty] | NVL 4 HI UV CRA 850 | 7915.934 | CU1: 55
[7 empty] | NVL 4 VH UV CRA 850 | 9426.8876 | CU1: 66
[7 empty] | NVL 4 SH UV CRA 850 | 11718.9225 | CU1: 87.3
[7 empty] | NVL 8 SL UV CRA 850 | 4565.9332 | CU1: 30
[7 empty] | NVL 8 VL UV CRA 850 | 6696.091 | CU1: 46
[7 empty] | NVL 8 LW UV CRA 850 | 9942.8178 | CU1: 66
[7 empty] | NVL 8 MD UV CRA 850 | 12499.2486 | CU1: 82
[7 empty] | NVL 8 HI UV CRA 850 | 14684.2802 | CU1: 100
[7 empty] | NVL 8 VH UV CRA 850 | 19079.118 | CU1: 134
[7 empty] | NVL 8 SH UV CRA 850 | 23375.8446 | CU1: 174
[7 empty] | NVL 2 LW UV CDA 850 | 1398.3185 | CU1: 10
[7 empty] | NVL 2 MD UV CDA 850 | 2489.0001 | CU1: 18
[7 empty] | NVL 2 HI UV CDA 850 | 3668.9206 | CU1: 26
[7 empty] | NVL 2 VH UV CDA 850 | 4782.9087 | CU1: 35
[7 empty] | NVL 2 SH UV CDA 850 | 6268.9694 | CU1: 46
[7 empty] | NVL 4 LW UV CDA 850 | 2544.4217 | CU1: 18
[7 empty] | NVL 4 MD UV CDA 850 | 4931.7654 | CU1: 34
[7 empty] | NVL 4 HI UV CDA 850 | 7927.2537 | CU1: 55
[7 empty] | NVL 4 VH UV CDA 850 | 9440.3679 | CU1: 66
[7 empty] | NVL 4 SH UV CDA 850 | 11735.6804 | CU1: 87.3
[7 empty] | NVL 8 SL UV CDA 850 | 4572.163 | CU1: 30
[7 empty] | NVL 8 VL UV CDA 850 | 6705.6664 | CU1: 46
[7 empty] | NVL 8 LW UV CDA 850 | 9957.0359 | CU1: 66
[7 empty] | NVL 8 MD UV CDA 850 | 12517.1224 | CU1: 82
[7 empty] | NVL 8 HI UV CDA 850 | 14705.2785 | CU1: 100
[7 empty] | NVL 8 VH UV CDA 850 | 19106.4009 | CU1: 134
[7 empty] | NVL 8 SH UV CDA 850 | 23409.2717 | CU1: 174
[7 empty] | NVL 4 LW UV CSA 850 | 2557.9767 | CU1: 18
[7 empty] | NVL 4 MD UV CSA 850 | 4958.0385 | CU1: 34
[7 empty] | NVL 4 HI UV CSA 850 | 7969.4848 | CU1: 55
[7 empty] | NVL 4 VH UV CSA 850 | 9490.6599 | CU1: 66
[7 empty] | NVL 4 SH UV CSA 850 | 11798.2002 | CU1: 87.3