## WVL2
Project Name:
Room Estimator | [54 empty] | Project Location:
WVL2 Vaportight High Bay | [54 empty] | Project #:
[7 empty] | FA | [15 empty] | CA | [15 empty] | CP
[7 empty] | RC | 80 | 80 | 80 | 70 | 70 | 70 | 50 | 50 | 50 | 30 | 30 | 30 | 10 | 10 | 10 | RC | 80 | 80 | 80 | 70 | 70 | 70 | 50 | 50 | 50 | 30 | 30 | 30 | 10 | 10 | 10 | RC | 80 | 80 | 80 | 70 | 70 | 70 | 50 | 50 | 50 | 30 | 30 | 30 | 10 | 10 | 10
Area: | Room Length (x) |  | ft |  |  |  | RW | 50 | 30 | 10 | 50 | 30 | 10 | 50 | 30 | 10 | 50 | 30 | 10 | 50 | 30 | 10 | RW | 50 | 30 | 10 | 50 | 30 | 10 | 50 | 30 | 10 | 50 | 30 | 10 | 50 | 30 | 10 | RW | 50 | 30 | 10 | 50 | 30 | 10 | 50 | 30 | 10 | 50 | 30 | 10 | 50 | 30 | 10
| Room Width (y) |  | ft |  |  |  | RCR | CU | CU1 | CU2 | CU3 | CU4 | CU5 | CU6 | CU7 | CU8 | CU9 | CU10 | CU11 | CU12 | CU13 | CU14 | RCR | CU | CU1 | CU2 | CU3 | CU4 | CU5 | CU6 | CU7 | CU8 | CU9 | CU10 | CU11 | CU12 | CU13 | CU14 | RCR | CU | CU1 | CU2 | CU3 | CU4 | CU5 | CU6 | CU7 | CU8 | CU9 | CU10 | CU11 | CU12 | CU13 | CU14
| Room Area | 0 | ft2 |  |  |  | 0 | 118 | 118 | 118 | 115 | 115 | 115 | 110 | 110 | 110 | 104 | 104 | 104 | 100 | 100 | 100 | 0 | 119 | 119 | 119 | 116 | 116 | 116 | 110 | 110 | 110 | 106 | 106 | 106 | 101 | 101 | 101 | 0 | 119 | 119 | 119 | 116 | 116 | 116 | 110 | 110 | 110 | 106 | 106 | 106 | 101 | 101 | 101
| Luminaire Height |  | ft |  |  |  | 1 | 102 | 98 | 94 | 100 | 96 | 92 | 95 | 92 | 89 | 91 | 88 | 85 | 87 | 84 | 82 | 1 | 104 | 99 | 95 | 101 | 97 | 94 | 97 | 93 | 90 | 93 | 90 | 87 | 89 | 87 | 85 | 1 | 104 | 99 | 95 | 101 | 97 | 94 | 97 | 93 | 90 | 93 | 90 | 88 | 89 | 87 | 85
| Work Plane | 2.5 | ft |  |  |  | 2 | 89 | 82 | 76 | 87 | 80 | 75 | 83 | 77 | 73 | 79 | 75 | 71 | 76 | 72 | 69 | 2 | 90 | 83 | 77 | 88 | 82 | 76 | 84 | 79 | 74 | 81 | 76 | 72 | 78 | 74 | 71 | 2 | 90 | 83 | 77 | 88 | 82 | 76 | 84 | 79 | 74 | 81 | 76 | 72 | 78 | 74 | 71
| Room Cavity Ratio (RCR) | #DIV/0! |  |  |  |  | 3 | 78 | 70 | 63 | 76 | 69 | 62 | 73 | 66 | 61 | 70 | 64 | 59 | 67 | 62 | 58 | 3 | 79 | 70 | 64 | 77 | 69 | 63 | 74 | 67 | 62 | 71 | 65 | 61 | 68 | 64 | 60 | 3 | 79 | 71 | 64 | 77 | 70 | 63 | 74 | 67 | 62 | 71 | 66 | 61 | 68 | 64 | 60
| ceiling reflectance (rc) | 70 |  |  |  |  | 4 | 69 | 60 | 53 | 68 | 59 | 53 | 65 | 58 | 52 | 62 | 56 | 51 | 60 | 54 | 50 | 4 | 70 | 61 | 54 | 68 | 60 | 53 | 66 | 58 | 53 | 63 | 57 | 52 | 61 | 55 | 51 | 4 | 70 | 61 | 54 | 68 | 60 | 54 | 66 | 58 | 53 | 63 | 57 | 52 | 61 | 55 | 51
| wall reflectance (rw) | 30 |  |  |  |  | 5 | 62 | 53 | 46 | 60 | 52 | 46 | 58 | 51 | 45 | 56 | 49 | 44 | 54 | 48 | 43 | 5 | 62 | 53 | 46 | 61 | 52 | 46 | 59 | 51 | 45 | 56 | 50 | 45 | 54 | 49 | 44 | 5 | 62 | 53 | 46 | 61 | 52 | 46 | 59 | 51 | 45 | 57 | 50 | 45 | 55 | 49 | 44
| floor reflectance (rf) | 20 |  |  |  |  | 6 | 56 | 47 | 40 | 54 | 46 | 40 | 52 | 45 | 39 | 50 | 44 | 39 | 49 | 43 | 38 | 6 | 56 | 47 | 40 | 55 | 46 | 40 | 53 | 45 | 40 | 51 | 44 | 39 | 49 | 43 | 39 | 6 | 56 | 47 | 40 | 55 | 46 | 40 | 53 | 45 | 40 | 51 | 44 | 39 | 49 | 43 | 39
[7 empty] | 7 | 50 | 42 | 35 | 49 | 41 | 35 | 48 | 40 | 35 | 46 | 39 | 34 | 44 | 38 | 34 | 7 | 50 | 42 | 35 | 50 | 41 | 35 | 48 | 40 | 35 | 46 | 40 | 35 | 45 | 39 | 34 | 7 | 51 | 42 | 35 | 50 | 41 | 35 | 48 | 40 | 35 | 46 | 40 | 35 | 45 | 39 | 34
Luminaire: | Model |  |  | CP |  |  | 8 | 46 | 37 | 32 | 45 | 37 | 31 | 44 | 36 | 31 | 42 | 35 | 31 | 41 | 35 | 30 | 8 | 46 | 37 | 31 | 45 | 37 | 31 | 44 | 36 | 31 | 42 | 36 | 31 | 41 | 35 | 31 | 8 | 46 | 37 | 32 | 45 | 37 | 31 | 44 | 36 | 31 | 43 | 36 | 31 | 41 | 35 | 31
| Lumens | #N/A | lm |  |  |  | 9 | 42 | 34 | 28 | 41 | 34 | 28 | 40 | 33 | 28 | 39 | 32 | 28 | 38 | 32 | 27 | 9 | 42 | 34 | 28 | 41 | 34 | 28 | 40 | 33 | 28 | 39 | 32 | 28 | 38 | 32 | 27 | 9 | 42 | 34 | 28 | 42 | 34 | 28 | 40 | 33 | 28 | 39 | 33 | 28 | 38 | 32 | 28
| Watts | #N/A | W |  |  |  | 10 | 39 | 31 | 26 | 38 | 31 | 26 | 37 | 30 | 25 | 36 | 30 | 25 | 35 | 29 | 25 | 10 | 39 | 31 | 26 | 38 | 31 | 25 | 37 | 30 | 25 | 36 | 30 | 25 | 35 | 29 | 25 | 10 | 39 | 31 | 26 | 38 | 31 | 26 | 37 | 30 | 25 | 36 | 30 | 25 | 35 | 29 | 25
| Coefficient of Utilization | #DIV/0!
| Spacing Criteria (0-180°) | 1.3 |  |  |  |  | y | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | y | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | y | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Spacing Criteria (90-270°) | 1.3 |  |  |  |  | c3 | -0.046232 | -0.079643 | -0.11072 | -0.041764 | -0.073038 | -0.10004 | -0.047591 | -0.070707 | -0.09324 | -0.037685 | -0.050699 | -0.078671 | -0.039433 | -0.057887 | -0.066434 | c3 | -0.038267 | -0.077312 | -0.09965 | -0.044872 | -0.066434 | -0.10062 | -0.036519 | -0.056527 | -0.083333 | -0.033994 | -0.057304 | -0.076535 | -0.031663 | -0.044483 | -0.055556 | c3 | -0.042735 | -0.072844 | -0.10392 | -0.046037 | -0.061966 | -0.092075 | -0.036519 | -0.056527 | -0.083333 | -0.038267 | -0.054002 | -0.075369 | -0.031663 | -0.044483 | -0.056721
| Light Loss Factor (LLF) | 0.9 |  |  |  |  | c2 | 1.359 | 2.0606 | 2.7086 | 1.2803 | 1.9441 | 2.4913 | 1.3304 | 1.8345 | 2.3054 | 1.1422 | 1.4738 | 1.9994 | 1.1404 | 1.5338 | 1.7611 | c2 | 1.2523 | 2.0385 | 2.5495 | 1.3141 | 1.8566 | 2.5058 | 1.1375 | 1.6195 | 2.1346 | 1.1055 | 1.5833 | 1.972 | 1.0286 | 1.3258 | 1.5862 | c2 | 1.3124 | 1.9645 | 2.6125 | 1.3386 | 1.7826 | 2.3846 | 1.1375 | 1.6195 | 2.1346 | 1.1568 | 1.5338 | 1.9615 | 1.0169 | 1.3258 | 1.6107
[7 empty] | c1 | -16.8722 | -21.3516 | -25.2203 | -16.3364 | -20.5354 | -23.8108 | -15.8423 | -19.2743 | -22.2191 | -14.4611 | -17.0874 | -20.0117 | -13.9542 | -16.6298 | -18.4639 | c1 | -16.7176 | -21.4646 | -24.8205 | -16.486 | -20.4196 | -24.1115 | -15.0591 | -18.549 | -21.5128 | -14.6729 | -17.7428 | -20.1542 | -13.7382 | -16.0295 | -17.9433 | c1 | -16.885 | -21.1573 | -25.026 | -16.5862 | -20.1123 | -23.6562 | -15.0591 | -18.549 | -21.5128 | -14.7618 | -17.5357 | -20.1939 | -13.6216 | -16.0295 | -18.0435
[7 empty] | b | 117.7832 | 117.6294 | 117.2937 | 114.993 | 114.7203 | 114.1888 | 109.8252 | 109.6084 | 109.5035 | 104.0559 | 103.7972 | 103.6224 | 99.8811 | 99.6573 | 99.4965 | b | 119.0979 | 118.6923 | 118.1818 | 116.049 | 115.8392 | 115.7063 | 110.2517 | 109.972 | 109.6783 | 106.2028 | 105.965 | 105.6154 | 101.3077 | 101.2517 | 101.1119 | b | 119.1538 | 118.6084 | 118.2727 | 116.1049 | 115.7552 | 115.5035 | 110.2517 | 109.972 | 109.6783 | 106.2098 | 105.9371 | 105.951 | 101.2238 | 101.2517 | 101.1678
Estimated Light Levels Based on Known Quantity | [6 empty] | x | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | x | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | x | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
# luminaires
| Estimated Light Level | #N/A | fc |  |  |  | RC | RW | CU1: Lens; CU2: CU
| Total Watts | #N/A | W |  |  | CU | 80 | 50 | CU1: FA; CU2: #DIV/0!
| LPD | #N/A | W/ft2 |  |  | CU1 | 80 | 30 | CU1: FA; CU2: #DIV/0!
[6 empty] | CU2 | 80 | 10 | CU1: FA; CU2: #DIV/0!
[6 empty] | CU3 | 70 | 50 | CU1: FA; CU2: #DIV/0!
Estimated Luminaire Layout Based on Target Light Levels: | [5 empty] | CU4 | 70 | 30 | CU1: FA; CU2: #DIV/0!
| Desired Light Level |  | fc | #N/A |  | CU5 | 70 | 10 | CU1: FA; CU2: #DIV/0!
| # Fixtures (x) | #N/A |  | #N/A |  | CU6 | 50 | 50 | CU1: FA; CU2: #DIV/0!
| # Fixtures (y) | #N/A |  | #N/A |  | CU7 | 50 | 30 | CU1: FA; CU2: #DIV/0!
| Total # of Luminaires | #N/A |  | #N/A |  | CU8 | 50 | 10 | CU1: FA; CU2: #DIV/0!
| Estimated Light Level | #N/A | fc |  |  | CU9 | 30 | 50 | CU1: FA; CU2: #DIV/0!
| Fixture Orientation | 0 | deg |  |  | CU10 | 30 | 30 | CU1: FA; CU2: #DIV/0!
| Fixture Spacing (x) | #N/A | ft | 1.3 | -3.25 | CU11 | 30 | 10 | CU1: FA; CU2: #DIV/0!
| Fixture Spacing (y) | #N/A | ft | 1.3 | -3.25 | CU12 | 10 | 50 | CU1: FA; CU2: #DIV/0!
| Wall Spacing (x) | #N/A | ft |  |  | CU13 | 10 | 30 | CU1: FA; CU2: #DIV/0!
| Wall Spacing (y) | #N/A | ft |  |  | CU14 | 10 | 10 | CU1: FA; CU2: #DIV/0!
| Total Watts | #N/A | W |  |  | CU | 80 | 50 | CU1: CA; CU2: #DIV/0!
| LPD | #N/A | W/ft2 |  |  | CU1 | 80 | 30 | CU1: CA; CU2: #DIV/0!
[6 empty] | CU2 | 80 | 10 | CU1: CA; CU2: #DIV/0!
[6 empty] | CU3 | 70 | 50 | CU1: CA; CU2: #DIV/0!
* The above calculations are a rough estimate only. Actual results may vary depending on field conditions. LumenFocus makes no warranties as to the performance predicted by the above calculations. Please contact your LumenFocus representative for a more detailed photometric analysis. | [5 empty] | CU4 | 70 | 30 | CU1: CA; CU2: #DIV/0!
[6 empty] | CU5 | 70 | 10 | CU1: CA; CU2: #DIV/0!
[6 empty] | CU6 | 50 | 50 | CU1: CA; CU2: #DIV/0!
[6 empty] | CU7 | 50 | 30 | CU1: CA; CU2: #DIV/0!
[6 empty] | CU8 | 50 | 10 | CU1: CA; CU2: #DIV/0!
[6 empty] | CU9 | 30 | 50 | CU1: CA; CU2: #DIV/0!
[6 empty] | CU10 | 30 | 30 | CU1: CA; CU2: #DIV/0!
[6 empty] | CU11 | 30 | 10 | CU1: CA; CU2: #DIV/0!
[6 empty] | CU12 | 10 | 50 | CU1: CA; CU2: #DIV/0!
[6 empty] | CU13 | 10 | 30 | CU1: CA; CU2: #DIV/0!
[6 empty] | CU14 | 10 | 10 | CU1: CA; CU2: #DIV/0!
[6 empty] | CU | 80 | 50 | CU1: CP; CU2: #DIV/0!
[6 empty] | CU1 | 80 | 30 | CU1: CP; CU2: #DIV/0!
[6 empty] | CU2 | 80 | 10 | CU1: CP; CU2: #DIV/0!
[6 empty] | CU3 | 70 | 50 | CU1: CP; CU2: #DIV/0!
[6 empty] | CU4 | 70 | 30 | CU1: CP; CU2: #DIV/0!
[6 empty] | CU5 | 70 | 10 | CU1: CP; CU2: #DIV/0!
[6 empty] | CU6 | 50 | 50 | CU1: CP; CU2: #DIV/0!
[6 empty] | CU7 | 50 | 30 | CU1: CP; CU2: #DIV/0!
[6 empty] | CU8 | 50 | 10 | CU1: CP; CU2: #DIV/0!
[6 empty] | CU9 | 30 | 50 | CU1: CP; CU2: #DIV/0!
[6 empty] | CU10 | 30 | 30 | CU1: CP; CU2: #DIV/0!
[6 empty] | CU11 | 30 | 10 | CU1: CP; CU2: #DIV/0!
[6 empty] | CU12 | 10 | 50 | CU1: CP; CU2: #DIV/0!
[6 empty] | CU13 | 10 | 30 | CU1: CP; CU2: #DIV/0!
[6 empty] | CU14 | 10 | 10 | CU1: CP; CU2: #DIV/0!
[7 empty] | Model | Lumens | CU1: Watts
[7 empty] | WVL 2 LW UV FA 835 | 8601 | CU1: 64
[7 empty] | WVL 2 MD UV FA 835 | 12471 | CU1: 102
[7 empty] | WVL 2 HI UV FA 835 | 16673 | CU1: 129
[7 empty] | WVL 2 LW UV CA 835 | 8803 | CU1: 64
[7 empty] | WVL 2 MD UV CA 835 | 12763 | CU1: 102
[7 empty] | WVL 2 HI UV CA 835 | 17063 | CU1: 129
[7 empty] | WVL 2 LW UV CP 835 | 8753 | CU1: 64; CU4: RC; CU5: RW; CU6: RF; CU8: Lens; CU9: 0-180; CU10: 90-270; CU12: Orientation
[7 empty] | WVL 2 MD UV CP 835 | 12691 | CU1: 102; CU4: 80; CU5: 50; CU6: 20; CU8: FA; CU9: 1.26; CU10: 1.28; CU12: 0
[7 empty] | WVL 2 HI UV CP 835 | 16968 | CU1: 129; CU4: 70; CU5: 30; CU8: CA; CU9: 1.3; CU10: 1.3; CU12: 90
[7 empty] | WVL 2 LW UV FA 840 | 8867 | CU1: 64; CU4: 50; CU5: 10; CU8: CP; CU9: 1.3; CU10: 1.3
[7 empty] | WVL 2 MD UV FA 840 | 12857 | CU1: 102; CU4: 30
[7 empty] | WVL 2 HI UV FA 840 | 17189 | CU1: 129; CU4: 10
[7 empty] | WVL 2 LW UV CA 840 | 9075 | CU1: 64
[7 empty] | WVL 2 MD UV CA 840 | 13158 | CU1: 102
[7 empty] | WVL 2 HI UV CA 840 | 17591 | CU1: 129
[7 empty] | WVL 2 LW UV CP 840 | 9024 | CU1: 64
[7 empty] | WVL 2 MD UV CP 840 | 13084 | CU1: 102
[7 empty] | WVL 2 HI UV CP 840 | 17492 | CU1: 129
[7 empty] | WVL 2 LW UV FA 850 | 9133 | CU1: 64
[7 empty] | WVL 2 MD UV FA 850 | 13242 | CU1: 102
[7 empty] | WVL 2 HI UV FA 850 | 17704 | CU1: 129
[7 empty] | WVL 2 LW UV CA 850 | 9347 | CU1: 64
[7 empty] | WVL 2 MD UV CA 850 | 13552 | CU1: 102
[7 empty] | WVL 2 HI UV CA 850 | 18119 | CU1: 129
[7 empty] | WVL 2 LW UV CP 850 | 9295 | CU1: 64
[7 empty] | WVL 2 MD UV CP 850 | 13476 | CU1: 102
[7 empty] | WVL 2 HI UV CP 850 | 18017 | CU1: 129