## WVL4
Project Name:
Room Estimator | [54 empty] | Project Location:
WVL4 Vaportight High Bay | [54 empty] | Project #:
[7 empty] | FA | [15 empty] | CA | [15 empty] | CP
[7 empty] | RC | 80 | 80 | 80 | 70 | 70 | 70 | 50 | 50 | 50 | 30 | 30 | 30 | 10 | 10 | 10 | RC | 80 | 80 | 80 | 70 | 70 | 70 | 50 | 50 | 50 | 30 | 30 | 30 | 10 | 10 | 10 | RC | 80 | 80 | 80 | 70 | 70 | 70 | 50 | 50 | 50 | 30 | 30 | 30 | 10 | 10 | 10
Area: | Room Length (x) |  | ft |  |  |  | RW | 50 | 30 | 10 | 50 | 30 | 10 | 50 | 30 | 10 | 50 | 30 | 10 | 50 | 30 | 10 | RW | 50 | 30 | 10 | 50 | 30 | 10 | 50 | 30 | 10 | 50 | 30 | 10 | 50 | 30 | 10 | RW | 50 | 30 | 10 | 50 | 30 | 10 | 50 | 30 | 10 | 50 | 30 | 10 | 50 | 30 | 10
| Room Width (y) |  | ft |  |  |  | RCR | CU | CU1 | CU2 | CU3 | CU4 | CU5 | CU6 | CU7 | CU8 | CU9 | CU10 | CU11 | CU12 | CU13 | CU14 | RCR | CU | CU1 | CU2 | CU3 | CU4 | CU5 | CU6 | CU7 | CU8 | CU9 | CU10 | CU11 | CU12 | CU13 | CU14 | RCR | CU | CU1 | CU2 | CU3 | CU4 | CU5 | CU6 | CU7 | CU8 | CU9 | CU10 | CU11 | CU12 | CU13 | CU14
| Room Area | 0 | ft2 |  |  |  | 0 | 118 | 118 | 118 | 115 | 115 | 115 | 109 | 109 | 109 | 104 | 104 | 104 | 99 | 99 | 99 | 0 | 119 | 119 | 119 | 116 | 116 | 116 | 110 | 110 | 110 | 105 | 105 | 105 | 101 | 101 | 101 | 0 | 119 | 119 | 119 | 116 | 116 | 116 | 110 | 110 | 110 | 105 | 105 | 105 | 101 | 101 | 101
| Luminaire Height |  | ft |  |  |  | 1 | 103 | 98 | 94 | 100 | 96 | 93 | 95 | 92 | 89 | 91 | 88 | 86 | 87 | 85 | 83 | 1 | 104 | 99 | 95 | 101 | 97 | 94 | 97 | 93 | 90 | 93 | 90 | 87 | 89 | 87 | 85 | 1 | 104 | 99 | 95 | 101 | 97 | 94 | 97 | 93 | 91 | 93 | 90 | 88 | 89 | 87 | 85
| Work Plane | 2.5 | ft |  |  |  | 2 | 90 | 83 | 77 | 88 | 81 | 76 | 83 | 78 | 74 | 80 | 75 | 71 | 76 | 73 | 69 | 2 | 90 | 83 | 78 | 88 | 82 | 77 | 85 | 79 | 75 | 81 | 77 | 73 | 78 | 74 | 71 | 2 | 90 | 84 | 78 | 88 | 82 | 77 | 85 | 79 | 75 | 81 | 77 | 73 | 78 | 74 | 71
| Room Cavity Ratio (RCR) | #DIV/0! |  |  |  |  | 3 | 79 | 71 | 64 | 77 | 70 | 63 | 74 | 67 | 62 | 70 | 65 | 60 | 68 | 63 | 59 | 3 | 79 | 71 | 65 | 78 | 70 | 64 | 74 | 68 | 63 | 72 | 66 | 61 | 69 | 64 | 60 | 3 | 80 | 71 | 65 | 78 | 70 | 64 | 75 | 68 | 63 | 72 | 66 | 62 | 69 | 64 | 60
| ceiling reflectance (rc) | 70 |  |  |  |  | 4 | 70 | 61 | 55 | 68 | 60 | 54 | 66 | 58 | 53 | 63 | 57 | 52 | 60 | 55 | 51 | 4 | 70 | 61 | 55 | 69 | 61 | 54 | 66 | 59 | 53 | 64 | 58 | 53 | 61 | 56 | 52 | 4 | 70 | 62 | 55 | 69 | 61 | 55 | 66 | 59 | 54 | 64 | 58 | 53 | 62 | 56 | 52
| wall reflectance (rw) | 30 |  |  |  |  | 5 | 63 | 54 | 47 | 61 | 53 | 47 | 59 | 51 | 46 | 57 | 50 | 45 | 54 | 49 | 44 | 5 | 63 | 54 | 47 | 62 | 53 | 47 | 59 | 52 | 46 | 57 | 51 | 45 | 55 | 49 | 45 | 5 | 63 | 54 | 47 | 62 | 53 | 47 | 59 | 52 | 46 | 57 | 51 | 46 | 55 | 50 | 45
| floor reflectance (rf) | 20 |  |  |  |  | 6 | 56 | 48 | 41 | 55 | 47 | 41 | 53 | 46 | 40 | 51 | 45 | 40 | 49 | 44 | 39 | 6 | 56 | 47 | 41 | 55 | 47 | 41 | 53 | 46 | 40 | 52 | 45 | 40 | 50 | 44 | 39 | 6 | 57 | 48 | 41 | 56 | 47 | 41 | 54 | 46 | 41 | 52 | 45 | 40 | 50 | 44 | 40
[7 empty] | 7 | 51 | 42 | 36 | 50 | 42 | 36 | 48 | 41 | 36 | 47 | 40 | 35 | 45 | 39 | 35 | 7 | 51 | 42 | 36 | 50 | 42 | 36 | 49 | 41 | 36 | 47 | 40 | 35 | 46 | 39 | 35 | 7 | 51 | 43 | 36 | 50 | 42 | 36 | 49 | 41 | 36 | 47 | 41 | 36 | 46 | 40 | 35
Luminaire: | Model |  |  | CP |  |  | 8 | 47 | 38 | 32 | 46 | 38 | 32 | 44 | 37 | 32 | 43 | 36 | 31 | 41 | 36 | 31 | 8 | 47 | 38 | 32 | 46 | 38 | 32 | 44 | 37 | 32 | 43 | 36 | 31 | 42 | 36 | 31 | 8 | 47 | 38 | 32 | 46 | 38 | 32 | 45 | 37 | 32 | 43 | 37 | 32 | 42 | 36 | 31
| Lumens | #N/A | lm |  |  |  | 9 | 43 | 35 | 29 | 42 | 34 | 29 | 41 | 34 | 29 | 39 | 33 | 28 | 38 | 32 | 28 | 9 | 43 | 34 | 29 | 42 | 34 | 29 | 41 | 34 | 29 | 40 | 33 | 28 | 39 | 33 | 28 | 9 | 43 | 35 | 29 | 42 | 34 | 29 | 41 | 34 | 29 | 40 | 33 | 29 | 39 | 33 | 28
| Watts | #N/A | W |  |  |  | 10 | 40 | 32 | 26 | 39 | 31 | 26 | 38 | 31 | 26 | 37 | 30 | 26 | 36 | 30 | 26 | 10 | 39 | 31 | 26 | 39 | 31 | 26 | 38 | 31 | 26 | 37 | 30 | 26 | 36 | 30 | 26 | 10 | 40 | 32 | 26 | 39 | 31 | 26 | 38 | 31 | 26 | 37 | 30 | 26 | 36 | 30 | 26
| Coefficient of Utilization | #DIV/0!
| Spacing Criteria (0-180°) | 1.28 |  |  |  |  | y | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | y | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | y | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Spacing Criteria (90-270°) | 1.3 |  |  |  |  | c3 | -0.037685 | -0.070513 | -0.1049 | -0.039821 | -0.073038 | -0.10004 | -0.032634 | -0.062937 | -0.082751 | -0.036325 | -0.056138 | -0.071678 | -0.027778 | -0.045066 | -0.059052 | c3 | -0.048174 | -0.077117 | -0.10082 | -0.037296 | -0.070707 | -0.09596 | -0.032051 | -0.056138 | -0.078671 | -0.027778 | -0.043901 | -0.060606 | -0.033994 | -0.044095 | -0.052642 | c3 | -0.040598 | -0.07265 | -0.10082 | -0.040016 | -0.070707 | -0.09324 | -0.034577 | -0.056138 | -0.077506 | -0.027778 | -0.052642 | -0.06488 | -0.031274 | -0.048563 | -0.055361
| Light Loss Factor (LLF) | 0.9 |  |  |  |  | c2 | 1.2238 | 1.9062 | 2.5699 | 1.2372 | 1.8951 | 2.4563 | 1.0734 | 1.6981 | 2.1061 | 1.0973 | 1.5146 | 1.8724 | 0.95163 | 1.2995 | 1.6166 | c2 | 1.3881 | 2.0157 | 2.5251 | 1.1946 | 1.873 | 2.4114 | 1.0868 | 1.5903 | 2.0612 | 0.97145 | 1.331 | 1.711 | 1.0507 | 1.3223 | 1.5379 | c2 | 1.2745 | 1.9441 | 2.5251 | 1.2249 | 1.873 | 2.3601 | 1.1061 | 1.5903 | 2.0297 | 0.97145 | 1.454 | 1.7622 | 0.99942 | 1.3706 | 1.5682
[7 empty] | c1 | -16.277 | -20.5909 | -24.3741 | -15.9946 | -20.0458 | -23.4611 | -14.5513 | -18.4953 | -21.0723 | -14.075 | -16.927 | -19.3811 | -13.0567 | -15.4223 | -17.5855 | c1 | -17.0742 | -21.2463 | -24.4312 | -15.9126 | -20.1589 | -23.5183 | -14.8939 | -18.1845 | -21.1294 | -13.7549 | -16.427 | -18.958 | -13.6251 | -15.9215 | -17.6391 | c1 | -16.6045 | -20.8714 | -24.4312 | -15.9542 | -20.1589 | -23.2669 | -14.8337 | -18.1845 | -20.9592 | -13.7549 | -16.7999 | -19.047 | -13.3737 | -15.9724 | -17.6807
[7 empty] | b | 118.007 | 117.4476 | 117.042 | 114.986 | 114.6224 | 114.4825 | 108.7063 | 108.8951 | 108.5874 | 103.958 | 103.6993 | 103.6294 | 98.979 | 99.021 | 98.8601 | b | 119.2168 | 118.6154 | 118.1399 | 115.8252 | 115.6853 | 115.5804 | 110.3357 | 109.7902 | 109.6853 | 105.2308 | 104.986 | 104.6643 | 101.2448 | 101.1818 | 100.9371 | b | 119.035 | 118.5664 | 118.1399 | 115.8112 | 115.6853 | 115.4615 | 110.3287 | 109.7902 | 109.8881 | 105.2308 | 105.1329 | 105.035 | 101.1259 | 101.1538 | 100.9231
Estimated Light Levels Based on Known Quantity | [6 empty] | x | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | x | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | x | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
# luminaires
| Estimated Light Level | #N/A | fc |  |  |  | RC | RW | CU1: Lens; CU2: CU
| Total Watts | #N/A | W |  |  | CU | 80 | 50 | CU1: FA; CU2: #DIV/0!
| LPD | #N/A | W/ft2 |  |  | CU1 | 80 | 30 | CU1: FA; CU2: #DIV/0!
[6 empty] | CU2 | 80 | 10 | CU1: FA; CU2: #DIV/0!
[6 empty] | CU3 | 70 | 50 | CU1: FA; CU2: #DIV/0!
Estimated Luminaire Layout Based on Target Light Levels: | [5 empty] | CU4 | 70 | 30 | CU1: FA; CU2: #DIV/0!
| Desired Light Level |  | fc | #N/A |  | CU5 | 70 | 10 | CU1: FA; CU2: #DIV/0!
| # Fixtures (x) | #N/A |  | #N/A |  | CU6 | 50 | 50 | CU1: FA; CU2: #DIV/0!
| # Fixtures (y) | #N/A |  | #N/A |  | CU7 | 50 | 30 | CU1: FA; CU2: #DIV/0!
| Total # of Luminaires | #N/A |  | #N/A |  | CU8 | 50 | 10 | CU1: FA; CU2: #DIV/0!
| Estimated Light Level | #N/A | fc |  |  | CU9 | 30 | 50 | CU1: FA; CU2: #DIV/0!
| Fixture Orientation | 0 | deg |  |  | CU10 | 30 | 30 | CU1: FA; CU2: #DIV/0!
| Fixture Spacing (x) | #N/A | ft | 1.3 | -3.25 | CU11 | 30 | 10 | CU1: FA; CU2: #DIV/0!
| Fixture Spacing (y) | #N/A | ft | 1.28 | -3.2 | CU12 | 10 | 50 | CU1: FA; CU2: #DIV/0!
| Wall Spacing (x) | #N/A | ft |  |  | CU13 | 10 | 30 | CU1: FA; CU2: #DIV/0!
| Wall Spacing (y) | #N/A | ft |  |  | CU14 | 10 | 10 | CU1: FA; CU2: #DIV/0!
| Total Watts | #N/A | W |  |  | CU | 80 | 50 | CU1: CA; CU2: #DIV/0!
| LPD | #N/A | W/ft2 |  |  | CU1 | 80 | 30 | CU1: CA; CU2: #DIV/0!
[6 empty] | CU2 | 80 | 10 | CU1: CA; CU2: #DIV/0!
[6 empty] | CU3 | 70 | 50 | CU1: CA; CU2: #DIV/0!
* The above calculations are a rough estimate only. Actual results may vary depending on field conditions. LumenFocus makes no warranties as to the performance predicted by the above calculations. Please contact your LumenFocus representative for a more detailed photometric analysis. | [5 empty] | CU4 | 70 | 30 | CU1: CA; CU2: #DIV/0!
[6 empty] | CU5 | 70 | 10 | CU1: CA; CU2: #DIV/0!
[6 empty] | CU6 | 50 | 50 | CU1: CA; CU2: #DIV/0!
[6 empty] | CU7 | 50 | 30 | CU1: CA; CU2: #DIV/0!
[6 empty] | CU8 | 50 | 10 | CU1: CA; CU2: #DIV/0!
[6 empty] | CU9 | 30 | 50 | CU1: CA; CU2: #DIV/0!
[6 empty] | CU10 | 30 | 30 | CU1: CA; CU2: #DIV/0!
[6 empty] | CU11 | 30 | 10 | CU1: CA; CU2: #DIV/0!
[6 empty] | CU12 | 10 | 50 | CU1: CA; CU2: #DIV/0!
[6 empty] | CU13 | 10 | 30 | CU1: CA; CU2: #DIV/0!
[6 empty] | CU14 | 10 | 10 | CU1: CA; CU2: #DIV/0!
[6 empty] | CU | 80 | 50 | CU1: CP; CU2: #DIV/0!
[6 empty] | CU1 | 80 | 30 | CU1: CP; CU2: #DIV/0!
[6 empty] | CU2 | 80 | 10 | CU1: CP; CU2: #DIV/0!
[6 empty] | CU3 | 70 | 50 | CU1: CP; CU2: #DIV/0!
[6 empty] | CU4 | 70 | 30 | CU1: CP; CU2: #DIV/0!
[6 empty] | CU5 | 70 | 10 | CU1: CP; CU2: #DIV/0!
[6 empty] | CU6 | 50 | 50 | CU1: CP; CU2: #DIV/0!
[6 empty] | CU7 | 50 | 30 | CU1: CP; CU2: #DIV/0!
[6 empty] | CU8 | 50 | 10 | CU1: CP; CU2: #DIV/0!
[6 empty] | CU9 | 30 | 50 | CU1: CP; CU2: #DIV/0!
[6 empty] | CU10 | 30 | 30 | CU1: CP; CU2: #DIV/0!
[6 empty] | CU11 | 30 | 10 | CU1: CP; CU2: #DIV/0!
[6 empty] | CU12 | 10 | 50 | CU1: CP; CU2: #DIV/0!
[6 empty] | CU13 | 10 | 30 | CU1: CP; CU2: #DIV/0!
[6 empty] | CU14 | 10 | 10 | CU1: CP; CU2: #DIV/0!
[7 empty] | Model | Lumens | CU1: Watts
[7 empty] | WVL 4 LW UV FA 835 | 16534 | CU1: 122
[7 empty] | WVL 4 MD UV FA 835 | 20051 | CU1: 156
[7 empty] | WVL 4 HI UV FA 835 | 23196 | CU1: 168
[7 empty] | WVL 4 SH UV FA 835 | 30326 | CU1: 227
[7 empty] | WVL 4 LW UV CA 835 | 16790 | CU1: 122
[7 empty] | WVL 4 MD UV CA 835 | 20371 | CU1: 156
[7 empty] | WVL 4 HI UV CA 835 | 23554 | CU1: 168; CU4: RC; CU5: RW; CU6: RF; CU8: Lens; CU9: 0-180; CU10: 90-270; CU12: Orientation
[7 empty] | WVL 4 SH UV CA 835 | 30795 | CU1: 227; CU4: 80; CU5: 50; CU6: 20; CU8: FA; CU9: 1.26; CU10: 1.26; CU12: 0
[7 empty] | WVL 4 LW UV CP 835 | 16487 | CU1: 122; CU4: 70; CU5: 30; CU8: CA; CU9: 1.28; CU10: 1.3; CU12: 90
[7 empty] | WVL 4 MD UV CP 835 | 20004 | CU1: 156; CU4: 50; CU5: 10; CU8: CP; CU9: 1.28; CU10: 1.3
[7 empty] | WVL 4 HI UV CP 835 | 23130 | CU1: 168; CU4: 30
[7 empty] | WVL 4 SH UV CP 835 | 30241 | CU1: 227; CU4: 10
[7 empty] | WVL 4 LW UV FA 840 | 17045 | CU1: 122
[7 empty] | WVL 4 MD UV FA 840 | 20671 | CU1: 156
[7 empty] | WVL 4 HI UV FA 840 | 23913 | CU1: 168
[7 empty] | WVL 4 SH UV FA 840 | 31264 | CU1: 227
[7 empty] | WVL 4 LW UV CA 840 | 17309 | CU1: 122
[7 empty] | WVL 4 MD UV CA 840 | 21001 | CU1: 156
[7 empty] | WVL 4 HI UV CA 840 | 24283 | CU1: 168
[7 empty] | WVL 4 SH UV CA 840 | 31748 | CU1: 227
[7 empty] | WVL 4 LW UV CP 840 | 16997 | CU1: 122
[7 empty] | WVL 4 MD UV CP 840 | 20623 | CU1: 156
[7 empty] | WVL 4 HI UV CP 840 | 23846 | CU1: 168
[7 empty] | WVL 4 SH UV CP 840 | 31176 | CU1: 227
[7 empty] | WVL 4 LW UV FA 850 | 17557 | CU1: 122
[7 empty] | WVL 4 MD UV FA 850 | 21291 | CU1: 156
[7 empty] | WVL 4 HI UV FA 850 | 24630 | CU1: 168
[7 empty] | WVL 4 SH UV FA 850 | 32202 | CU1: 227
[7 empty] | WVL 4 LW UV CA 850 | 17828 | CU1: 122
[7 empty] | WVL 4 MD UV CA 850 | 21631 | CU1: 156
[7 empty] | WVL 4 HI UV CA 850 | 25011 | CU1: 168
[7 empty] | WVL 4 SH UV CA 850 | 32700 | CU1: 227
[7 empty] | WVL 4 LW UV CP 850 | 17507 | CU1: 122
[7 empty] | WVL 4 MD UV CP 850 | 21242 | CU1: 156
[7 empty] | WVL 4 HI UV CP 850 | 24561 | CU1: 168
[7 empty] | WVL 4 SH UV CP 850 | 32111 | CU1: 227